## Variable_list
Name | Variable | Expression
V_mag | 1 | 0
V_ang | 1 | 0
V_ang(Deg) | 1 | 0
PGen | 1 | 0
QGen | 1 | 0
Line_Status | 1 | 0
PDem | 0 | 1
QDem | 0 | 1
P_line_flow_sending | 0 | 1
Q_line_flow_sending | 0 | 1
P_line_flow_receiving | 0 | 1
Q_line_flow_receiving | 0 | 1
P_line_loss | 0 | 1
Q_line_loss | 0 | 1
S_line_flow_sending | 0 | 1
S_line_flow_receiving | 0 | 1
P_gen_MW | 0 | 1
Q_gen_MVar | 0 | 1
V_mag_kv | 0 | 1
V_ang_deg | 0 | 1
I_line_re | 0 | 1
I_line_im | 0 | 1
I_line_sq | 0 | 1

## V_mag
Variable_name | Index: Buses | Value
V_mag | 1 | 1
V_mag | 2 | 0.99709
V_mag | 3 | 0.98624
V_mag | 4 | 0.98255
V_mag | 5 | 0.9791
V_mag | 6 | 0.97105
V_mag | 7 | 0.97008
V_mag | 8 | 0.96896
V_mag | 9 | 0.96566
V_mag | 10 | 0.96523
V_mag | 11 | 0.96523
V_mag | 12 | 0.96537
V_mag | 13 | 0.96197
V_mag | 14 | 0.96076
V_mag | 15 | 0.96041
V_mag | 16 | 0.9586
V_mag | 17 | 0.95507
V_mag | 18 | 0.95396
V_mag | 19 | 0.99533
V_mag | 20 | 0.98074
V_mag | 21 | 0.97666
V_mag | 22 | 0.97293
V_mag | 23 | 0.98074
V_mag | 24 | 0.97
V_mag | 25 | 0.96265
V_mag | 26 | 0.97005
V_mag | 27 | 0.96879
V_mag | 28 | 0.96363
V_mag | 29 | 0.96014
V_mag | 30 | 0.95695
V_mag | 31 | 0.95383
V_mag | 32 | 0.95328
V_mag | 33 | 0.9535

## V_ang
Variable_name | Index: Buses | Value
V_ang | 1 | -4.0594e-38
V_ang | 2 | 0.00024884
V_ang | 3 | 0.0009176
V_ang | 4 | 0.0010016
V_ang | 5 | 0.001043
V_ang | 6 | -0.00088285
V_ang | 7 | -0.0025548
V_ang | 8 | -0.0028816
V_ang | 9 | -0.0033811
V_ang | 10 | -0.0037974
V_ang | 11 | -0.003841
V_ang | 12 | -0.003962
V_ang | 13 | -0.0039477
V_ang | 14 | -0.0042072
V_ang | 15 | -0.0041117
V_ang | 16 | -0.0037495
V_ang | 17 | -0.0037008
V_ang | 18 | -0.0031285
V_ang | 19 | -2.1437e-06
V_ang | 20 | -0.001427
V_ang | 21 | -0.0023007
V_ang | 22 | -0.0033567
V_ang | 23 | 0.00077644
V_ang | 24 | -0.0002178
V_ang | 25 | -0.00040568
V_ang | 26 | -0.00069643
V_ang | 27 | -0.00042414
V_ang | 28 | -0.00049893
V_ang | 29 | -0.00035682
V_ang | 30 | 0.00085216
V_ang | 31 | -0.0014805
V_ang | 32 | -0.0021629
V_ang | 33 | -0.0026304

## V_ang(Deg)
Variable_name | Index: Buses | Value
V_ang(Deg) | 1 | -2.3259e-36
V_ang(Deg) | 2 | 0.014258
V_ang(Deg) | 3 | 0.052574
V_ang(Deg) | 4 | 0.05739
V_ang(Deg) | 5 | 0.059762
V_ang(Deg) | 6 | -0.050583
V_ang(Deg) | 7 | -0.14638
V_ang(Deg) | 8 | -0.1651
V_ang(Deg) | 9 | -0.19372
V_ang(Deg) | 10 | -0.21757
V_ang(Deg) | 11 | -0.22007
V_ang(Deg) | 12 | -0.227
V_ang(Deg) | 13 | -0.22619
V_ang(Deg) | 14 | -0.24105
V_ang(Deg) | 15 | -0.23559
V_ang(Deg) | 16 | -0.21483
V_ang(Deg) | 17 | -0.21204
V_ang(Deg) | 18 | -0.17925
V_ang(Deg) | 19 | -0.00012282
V_ang(Deg) | 20 | -0.081761
V_ang(Deg) | 21 | -0.13182
V_ang(Deg) | 22 | -0.19233
V_ang(Deg) | 23 | 0.044487
V_ang(Deg) | 24 | -0.012479
V_ang(Deg) | 25 | -0.023244
V_ang(Deg) | 26 | -0.039902
V_ang(Deg) | 27 | -0.024301
V_ang(Deg) | 28 | -0.028586
V_ang(Deg) | 29 | -0.020444
V_ang(Deg) | 30 | 0.048825
V_ang(Deg) | 31 | -0.084829
V_ang(Deg) | 32 | -0.12392
V_ang(Deg) | 33 | -0.15071

## PGen
Variable_name | Index: Gens | Index: Buses | Value
PGen | 1 | 1 | 0.38383
PGen | 1 | 2 | 0
PGen | 1 | 3 | 0
PGen | 1 | 4 | 2.8032e-10
PGen | 1 | 5 | 9.5987e-10
PGen | 1 | 6 | 2.1816e-09
PGen | 1 | 7 | 2.2448e-09
PGen | 1 | 8 | 2.4423e-09
PGen | 1 | 9 | 2.9928e-09
PGen | 1 | 10 | 3.047e-09
PGen | 1 | 11 | 3.0419e-09
PGen | 1 | 12 | 3.0049e-09
PGen | 1 | 13 | 3.6266e-09
PGen | 1 | 14 | 3.829e-09
PGen | 1 | 15 | 3.9075e-09
PGen | 1 | 16 | 4.307e-09
PGen | 1 | 17 | 4.9766e-09
PGen | 1 | 18 | 5.2318e-09
PGen | 1 | 19 | 0
PGen | 1 | 20 | 4.9934e-10
PGen | 1 | 21 | 1.1988e-09
PGen | 1 | 22 | 1.7761e-09
PGen | 1 | 23 | 5.7301e-10
PGen | 1 | 24 | 2.3005e-09
PGen | 1 | 25 | 3.3605e-09
PGen | 1 | 26 | 2.3429e-09
PGen | 1 | 27 | 2.5428e-09
PGen | 1 | 28 | 3.2052e-09
PGen | 1 | 29 | 3.6638e-09
PGen | 1 | 30 | 4.2226e-09
PGen | 1 | 31 | 5.0873e-09
PGen | 1 | 32 | 5.2818e-09
PGen | 1 | 33 | 5.2898e-09

## QGen
Variable_name | Index: Gens | Index: Buses | Value
QGen | 1 | 1 | 0.23879
QGen | 1 | 2 | -1.6679e-07
QGen | 1 | 3 | -2.6868e-08
QGen | 1 | 4 | -1.9166e-08
QGen | 1 | 5 | -1.44e-08
QGen | 1 | 6 | -8.2931e-09
QGen | 1 | 7 | -8.1573e-09
QGen | 1 | 8 | -7.7422e-09
QGen | 1 | 9 | -6.0464e-09
QGen | 1 | 10 | -5.9699e-09
QGen | 1 | 11 | -5.9746e-09
QGen | 1 | 12 | -6.0654e-09
QGen | 1 | 13 | -4.4097e-09
QGen | 1 | 14 | -3.9554e-09
QGen | 1 | 15 | -3.7755e-09
QGen | 1 | 16 | -2.9468e-09
QGen | 1 | 17 | -1.713e-09
QGen | 1 | 18 | -1.2169e-09
QGen | 1 | 19 | -1.058e-07
QGen | 1 | 20 | -1.8911e-08
QGen | 1 | 21 | -1.405e-08
QGen | 1 | 22 | -1.0945e-08
QGen | 1 | 23 | -1.6421e-08
QGen | 1 | 24 | -7.139e-09
QGen | 1 | 25 | -3.5051e-09
QGen | 1 | 26 | -7.5111e-09
QGen | 1 | 27 | -6.5742e-09
QGen | 1 | 28 | -3.9422e-09
QGen | 1 | 29 | -2.5027e-09
QGen | 1 | 30 | -1.0813e-09
QGen | 1 | 31 | -8.1756e-10
QGen | 1 | 32 | -8.1906e-10
QGen | 1 | 33 | -9.6009e-10

## Line_Status
Variable_name | Index: Lines | Value
Line_Status | 1 | 1
Line_Status | 2 | 1
Line_Status | 3 | 1
Line_Status | 4 | 1
Line_Status | 5 | 1
Line_Status | 6 | 1
Line_Status | 7 | 1
Line_Status | 8 | 1
Line_Status | 9 | 1
Line_Status | 10 | 1
Line_Status | 11 | 1
Line_Status | 12 | 1
Line_Status | 13 | 1
Line_Status | 14 | 1
Line_Status | 15 | 1
Line_Status | 16 | 1
Line_Status | 17 | 1
Line_Status | 18 | 1
Line_Status | 19 | 1
Line_Status | 20 | 1
Line_Status | 21 | 1
Line_Status | 22 | 1
Line_Status | 23 | 1
Line_Status | 24 | 1
Line_Status | 25 | 1
Line_Status | 26 | 1
Line_Status | 27 | 1
Line_Status | 28 | 1
Line_Status | 29 | 1
Line_Status | 30 | 1
Line_Status | 31 | 1
Line_Status | 32 | 1
Line_Status | 33 | 1
Line_Status | 34 | 1
Line_Status | 35 | 1
Line_Status | 36 | 1
Line_Status | 37 | 1

## PDem
Variable_name | Index: Buses | Value
PDem | 1 | 0
PDem | 2 | 0.01
PDem | 3 | 0.009
PDem | 4 | 0.012
PDem | 5 | 0.006
PDem | 6 | 0.006
PDem | 7 | 0.02
PDem | 8 | 0.02
PDem | 9 | 0.006
PDem | 10 | 0.006
PDem | 11 | 0.0045
PDem | 12 | 0.006
PDem | 13 | 0.006
PDem | 14 | 0.012
PDem | 15 | 0.006
PDem | 16 | 0.006
PDem | 17 | 0.006
PDem | 18 | 0.009
PDem | 19 | 0.009
PDem | 20 | 0.009
PDem | 21 | 0.009
PDem | 22 | 0.009
PDem | 23 | 0.009
PDem | 24 | 0.042
PDem | 25 | 0.042
PDem | 26 | 0.006
PDem | 27 | 0.006
PDem | 28 | 0.006
PDem | 29 | 0.012
PDem | 30 | 0.02
PDem | 31 | 0.015
PDem | 32 | 0.021
PDem | 33 | 0.006

## QDem
Variable_name | Index: Buses | Value
QDem | 1 | 0
QDem | 2 | 0.006
QDem | 3 | 0.004
QDem | 4 | 0.008
QDem | 5 | 0.003
QDem | 6 | 0.002
QDem | 7 | 0.01
QDem | 8 | 0.01
QDem | 9 | 0.002
QDem | 10 | 0.002
QDem | 11 | 0.003
QDem | 12 | 0.0035
QDem | 13 | 0.0035
QDem | 14 | 0.008
QDem | 15 | 0.001
QDem | 16 | 0.002
QDem | 17 | 0.002
QDem | 18 | 0.004
QDem | 19 | 0.004
QDem | 20 | 0.004
QDem | 21 | 0.004
QDem | 22 | 0.004
QDem | 23 | 0.005
QDem | 24 | 0.02
QDem | 25 | 0.02
QDem | 26 | 0.0025
QDem | 27 | 0.0025
QDem | 28 | 0.002
QDem | 29 | 0.007
QDem | 30 | 0.06
QDem | 31 | 0.007
QDem | 32 | 0.01
QDem | 33 | 0.004

## P_line_flow_sending
Variable_name | Index: Lines | Value
P_line_flow_sending | 1 | 0.38383
P_line_flow_sending | 2 | 0.27072
P_line_flow_sending | 3 | 0.125
P_line_flow_sending | 4 | 0.11253
P_line_flow_sending | 5 | 0.10613
P_line_flow_sending | 6 | 0.044163
P_line_flow_sending | 7 | 0.024138
P_line_flow_sending | 8 | 0.036207
P_line_flow_sending | 9 | 0.0070365
P_line_flow_sending | 10 | 0.001033
P_line_flow_sending | 11 | -0.0034671
P_line_flow_sending | 12 | 0.02206
P_line_flow_sending | 13 | 0.015982
P_line_flow_sending | 14 | 0.0039656
P_line_flow_sending | 15 | 0.020907
P_line_flow_sending | 16 | 0.01486
P_line_flow_sending | 17 | 0.0088042
P_line_flow_sending | 18 | 0.10193
P_line_flow_sending | 19 | 0.092769
P_line_flow_sending | 20 | 0.082506
P_line_flow_sending | 21 | 0.040882
P_line_flow_sending | 22 | 0.13367
P_line_flow_sending | 23 | 0.12393
P_line_flow_sending | 24 | 0.080657
P_line_flow_sending | 25 | 0.055203
P_line_flow_sending | 26 | 0.049138
P_line_flow_sending | 27 | 0.043064
P_line_flow_sending | 28 | 0.036837
P_line_flow_sending | 29 | 0.062654
P_line_flow_sending | 30 | 0.042365
P_line_flow_sending | 31 | 0.027243
P_line_flow_sending | 32 | 0.0062269
P_line_flow_sending | 33 | 0.032335
P_line_flow_sending | 34 | 0.023057
P_line_flow_sending | 35 | -0.031528
P_line_flow_sending | 36 | -0.00021651
P_line_flow_sending | 37 | 0.038057

## Q_line_flow_sending
Variable_name | Index: Lines | Value
Q_line_flow_sending | 1 | 0.23879
Q_line_flow_sending | 2 | 0.15927
Q_line_flow_sending | 3 | 0.067229
Q_line_flow_sending | 4 | 0.058988
Q_line_flow_sending | 5 | 0.055786
Q_line_flow_sending | 6 | 0.011142
Q_line_flow_sending | 7 | 0.0010567
Q_line_flow_sending | 8 | 0.018739
Q_line_flow_sending | 9 | -0.00096894
Q_line_flow_sending | 10 | -0.0029714
Q_line_flow_sending | 11 | -0.0059715
Q_line_flow_sending | 12 | 0.017501
Q_line_flow_sending | 13 | 0.01394
Q_line_flow_sending | 14 | 0.005918
Q_line_flow_sending | 15 | 0.02243
Q_line_flow_sending | 16 | 0.020395
Q_line_flow_sending | 17 | 0.018321
Q_line_flow_sending | 18 | 0.072926
Q_line_flow_sending | 19 | 0.068772
Q_line_flow_sending | 20 | 0.063633
Q_line_flow_sending | 21 | 0.031366
Q_line_flow_sending | 22 | 0.086483
Q_line_flow_sending | 23 | 0.080982
Q_line_flow_sending | 24 | 0.059974
Q_line_flow_sending | 25 | 0.041983
Q_line_flow_sending | 26 | 0.03945
Q_line_flow_sending | 27 | 0.036912
Q_line_flow_sending | 28 | 0.034712
Q_line_flow_sending | 29 | 0.066994
Q_line_flow_sending | 30 | 0.006847
Q_line_flow_sending | 31 | -0.00027381
Q_line_flow_sending | 32 | -0.010292
Q_line_flow_sending | 33 | 0.02793
Q_line_flow_sending | 34 | 0.017626
Q_line_flow_sending | 35 | -0.026973
Q_line_flow_sending | 36 | 0.014305
Q_line_flow_sending | 37 | 0.039504

## P_line_flow_receiving
Variable_name | Index: Lines | Value
P_line_flow_receiving | 1 | -0.38265
P_line_flow_receiving | 2 | -0.26767
P_line_flow_receiving | 3 | -0.12453
P_line_flow_receiving | 4 | -0.11213
P_line_flow_receiving | 5 | -0.10537
P_line_flow_receiving | 6 | -0.044138
P_line_flow_receiving | 7 | -0.02411
P_line_flow_receiving | 8 | -0.036093
P_line_flow_receiving | 9 | -0.007033
P_line_flow_receiving | 10 | -0.0010329
P_line_flow_receiving | 11 | 0.0034683
P_line_flow_receiving | 12 | -0.021982
P_line_flow_receiving | 13 | -0.015966
P_line_flow_receiving | 14 | -0.0039635
P_line_flow_receiving | 15 | -0.02086
P_line_flow_receiving | 16 | -0.014804
P_line_flow_receiving | 17 | -0.0087835
P_line_flow_receiving | 18 | -0.10177
P_line_flow_receiving | 19 | -0.091506
P_line_flow_receiving | 20 | -0.082217
P_line_flow_receiving | 21 | -0.040759
P_line_flow_receiving | 22 | -0.13293
P_line_flow_receiving | 23 | -0.12266
P_line_flow_receiving | 24 | -0.080057
P_line_flow_receiving | 25 | -0.055138
P_line_flow_receiving | 26 | -0.049064
P_line_flow_receiving | 27 | -0.042837
P_line_flow_receiving | 28 | -0.036699
P_line_flow_receiving | 29 | -0.062365
P_line_flow_receiving | 30 | -0.042243
P_line_flow_receiving | 31 | -0.027227
P_line_flow_receiving | 32 | -0.0062235
P_line_flow_receiving | 33 | -0.032097
P_line_flow_receiving | 34 | -0.022944
P_line_flow_receiving | 35 | 0.031759
P_line_flow_receiving | 36 | 0.00022352
P_line_flow_receiving | 37 | -0.037955

## Q_line_flow_receiving
Variable_name | Index: Lines | Value
Q_line_flow_receiving | 1 | -0.23819
Q_line_flow_receiving | 2 | -0.15771
Q_line_flow_receiving | 3 | -0.066988
Q_line_flow_receiving | 4 | -0.058786
Q_line_flow_receiving | 5 | -0.055124
Q_line_flow_receiving | 6 | -0.011057
Q_line_flow_receiving | 7 | -0.0010476
Q_line_flow_receiving | 8 | -0.018657
Q_line_flow_receiving | 9 | 0.00097144
Q_line_flow_receiving | 10 | 0.0029715
Q_line_flow_receiving | 11 | 0.0059719
Q_line_flow_receiving | 12 | -0.01744
Q_line_flow_receiving | 13 | -0.013918
Q_line_flow_receiving | 14 | -0.0059162
Q_line_flow_receiving | 15 | -0.022395
Q_line_flow_receiving | 16 | -0.020321
Q_line_flow_receiving | 17 | -0.018305
Q_line_flow_receiving | 18 | -0.072772
Q_line_flow_receiving | 19 | -0.067633
Q_line_flow_receiving | 20 | -0.063297
Q_line_flow_receiving | 21 | -0.031203
Q_line_flow_receiving | 22 | -0.085982
Q_line_flow_receiving | 23 | -0.079974
Q_line_flow_receiving | 24 | -0.059504
Q_line_flow_receiving | 25 | -0.04195
Q_line_flow_receiving | 26 | -0.039412
Q_line_flow_receiving | 27 | -0.036712
Q_line_flow_receiving | 28 | -0.034591
Q_line_flow_receiving | 29 | -0.066847
Q_line_flow_receiving | 30 | -0.0067262
Q_line_flow_receiving | 31 | 0.00029223
Q_line_flow_receiving | 32 | 0.010297
Q_line_flow_receiving | 33 | -0.027692
Q_line_flow_receiving | 34 | -0.017514
Q_line_flow_receiving | 35 | 0.027203
Q_line_flow_receiving | 36 | -0.014298
Q_line_flow_receiving | 37 | -0.039403

## P_line_loss
Variable_name | Index: Lines | Value
P_line_loss | 1 | 0.011755
P_line_loss | 2 | 0.030524
P_line_loss | 3 | 0.0047297
P_line_loss | 4 | 0.0039759
P_line_loss | 5 | 0.0076631
P_line_loss | 6 | 0.00025697
P_line_loss | 7 | 0.00027533
P_line_loss | 8 | 0.0011377
P_line_loss | 9 | 3.5242e-05
P_line_loss | 10 | 1.303e-06
P_line_loss | 11 | 1.1955e-05
P_line_loss | 12 | 0.0007793
P_line_loss | 13 | 0.00016423
P_line_loss | 14 | 2.0273e-05
P_line_loss | 15 | 0.00047464
P_line_loss | 16 | 0.00055732
P_line_loss | 17 | 0.00020687
P_line_loss | 18 | 0.0016167
P_line_loss | 19 | 0.012633
P_line_loss | 20 | 0.0028838
P_line_loss | 21 | 0.0012312
P_line_loss | 22 | 0.0073359
P_line_loss | 23 | 0.012767
P_line_loss | 24 | 0.0060023
P_line_loss | 25 | 0.00064607
P_line_loss | 26 | 0.00074826
P_line_loss | 27 | 0.0022647
P_line_loss | 28 | 0.0013843
P_line_loss | 29 | 0.00289
P_line_loss | 30 | 0.0012227
P_line_loss | 31 | 0.00015805
P_line_loss | 32 | 3.3879e-05
P_line_loss | 33 | 0.0023884
P_line_loss | 34 | 0.0011271
P_line_loss | 35 | 0.0023052
P_line_loss | 36 | 7.016e-05
P_line_loss | 37 | 0.0010129

## Q_line_loss
Variable_name | Index: Lines | Value
Q_line_loss | 1 | 0.0059924
Q_line_loss | 2 | 0.015547
Q_line_loss | 3 | 0.0024088
Q_line_loss | 4 | 0.002025
Q_line_loss | 5 | 0.0066152
Q_line_loss | 6 | 0.00084942
Q_line_loss | 7 | 9.0991e-05
Q_line_loss | 8 | 0.00081735
Q_line_loss | 9 | 2.498e-05
Q_line_loss | 10 | 4.3079e-07
Q_line_loss | 11 | 3.9529e-06
Q_line_loss | 12 | 0.00061314
Q_line_loss | 13 | 0.00021617
Q_line_loss | 14 | 1.8043e-05
Q_line_loss | 15 | 0.00034661
Q_line_loss | 16 | 0.0007441
Q_line_loss | 17 | 0.00016222
Q_line_loss | 18 | 0.0015428
Q_line_loss | 19 | 0.011384
Q_line_loss | 20 | 0.003369
Q_line_loss | 21 | 0.0016279
Q_line_loss | 22 | 0.0050125
Q_line_loss | 23 | 0.010082
Q_line_loss | 24 | 0.0046967
Q_line_loss | 25 | 0.00032908
Q_line_loss | 26 | 0.00038098
Q_line_loss | 27 | 0.0019968
Q_line_loss | 28 | 0.001206
Q_line_loss | 29 | 0.001472
Q_line_loss | 30 | 0.0012084
Q_line_loss | 31 | 0.00018422
Q_line_loss | 32 | 5.2676e-05
Q_line_loss | 33 | 0.0023884
Q_line_loss | 34 | 0.0011271
Q_line_loss | 35 | 0.0023052
Q_line_loss | 36 | 7.016e-05
Q_line_loss | 37 | 0.0010129

## S_line_flow_sending
Variable_name | Index: Lines | Value
S_line_flow_sending | 1 | 0.20435
S_line_flow_sending | 2 | 0.098657
S_line_flow_sending | 3 | 0.020146
S_line_flow_sending | 4 | 0.016143
S_line_flow_sending | 5 | 0.014376
S_line_flow_sending | 6 | 0.0020745
S_line_flow_sending | 7 | 0.00058375
S_line_flow_sending | 8 | 0.0016621
S_line_flow_sending | 9 | 5.0452e-05
S_line_flow_sending | 10 | 9.8966e-06
S_line_flow_sending | 11 | 4.768e-05
S_line_flow_sending | 12 | 0.00079292
S_line_flow_sending | 13 | 0.00044974
S_line_flow_sending | 14 | 5.0748e-05
S_line_flow_sending | 15 | 0.00094021
S_line_flow_sending | 16 | 0.00063678
S_line_flow_sending | 17 | 0.00041316
S_line_flow_sending | 18 | 0.015708
S_line_flow_sending | 19 | 0.013336
S_line_flow_sending | 20 | 0.010856
S_line_flow_sending | 21 | 0.0026552
S_line_flow_sending | 22 | 0.025346
S_line_flow_sending | 23 | 0.021918
S_line_flow_sending | 24 | 0.010102
S_line_flow_sending | 25 | 0.0048099
S_line_flow_sending | 26 | 0.0039709
S_line_flow_sending | 27 | 0.0032169
S_line_flow_sending | 28 | 0.0025619
S_line_flow_sending | 29 | 0.0084137
S_line_flow_sending | 30 | 0.0018417
S_line_flow_sending | 31 | 0.00074224
S_line_flow_sending | 32 | 0.0001447
S_line_flow_sending | 33 | 0.0018257
S_line_flow_sending | 34 | 0.00084229
S_line_flow_sending | 35 | 0.0017216
S_line_flow_sending | 36 | 0.00020467
S_line_flow_sending | 37 | 0.0030089

## S_line_flow_receiving
Variable_name | Index: Lines | Value
S_line_flow_receiving | 1 | 0.20316
S_line_flow_receiving | 2 | 0.096521
S_line_flow_receiving | 3 | 0.019995
S_line_flow_receiving | 4 | 0.01603
S_line_flow_receiving | 5 | 0.014141
S_line_flow_receiving | 6 | 0.0020704
S_line_flow_receiving | 7 | 0.0005824
S_line_flow_receiving | 8 | 0.0016508
S_line_flow_receiving | 9 | 5.0407e-05
S_line_flow_receiving | 10 | 9.8966e-06
S_line_flow_receiving | 11 | 4.7693e-05
S_line_flow_receiving | 12 | 0.00078735
S_line_flow_receiving | 13 | 0.00044861
S_line_flow_receiving | 14 | 5.0711e-05
S_line_flow_receiving | 15 | 0.00093668
S_line_flow_receiving | 16 | 0.0006321
S_line_flow_receiving | 17 | 0.00041221
S_line_flow_receiving | 18 | 0.015653
S_line_flow_receiving | 19 | 0.012948
S_line_flow_receiving | 20 | 0.010766
S_line_flow_receiving | 21 | 0.0026349
S_line_flow_receiving | 22 | 0.025064
S_line_flow_receiving | 23 | 0.021441
S_line_flow_receiving | 24 | 0.0099498
S_line_flow_receiving | 25 | 0.0048
S_line_flow_receiving | 26 | 0.0039605
S_line_flow_receiving | 27 | 0.0031828
S_line_flow_receiving | 28 | 0.0025434
S_line_flow_receiving | 29 | 0.0083579
S_line_flow_receiving | 30 | 0.0018297
S_line_flow_receiving | 31 | 0.00074139
S_line_flow_receiving | 32 | 0.00014477
S_line_flow_receiving | 33 | 0.001797
S_line_flow_receiving | 34 | 0.00083315
S_line_flow_receiving | 35 | 0.0017486
S_line_flow_receiving | 36 | 0.00020447
S_line_flow_receiving | 37 | 0.0029932

## P_gen_MW
Variable_name | Index: Gens | Index: Buses | Value
P_gen_MW | 1 | 1 | 3.8383
P_gen_MW | 1 | 2 | 0
P_gen_MW | 1 | 3 | 0
P_gen_MW | 1 | 4 | 2.8032e-09
P_gen_MW | 1 | 5 | 9.5987e-09
P_gen_MW | 1 | 6 | 2.1816e-08
P_gen_MW | 1 | 7 | 2.2448e-08
P_gen_MW | 1 | 8 | 2.4423e-08
P_gen_MW | 1 | 9 | 2.9928e-08
P_gen_MW | 1 | 10 | 3.047e-08
P_gen_MW | 1 | 11 | 3.0419e-08
P_gen_MW | 1 | 12 | 3.0049e-08
P_gen_MW | 1 | 13 | 3.6266e-08
P_gen_MW | 1 | 14 | 3.829e-08
P_gen_MW | 1 | 15 | 3.9075e-08
P_gen_MW | 1 | 16 | 4.307e-08
P_gen_MW | 1 | 17 | 4.9766e-08
P_gen_MW | 1 | 18 | 5.2318e-08
P_gen_MW | 1 | 19 | 0
P_gen_MW | 1 | 20 | 4.9934e-09
P_gen_MW | 1 | 21 | 1.1988e-08
P_gen_MW | 1 | 22 | 1.7761e-08
P_gen_MW | 1 | 23 | 5.7301e-09
P_gen_MW | 1 | 24 | 2.3005e-08
P_gen_MW | 1 | 25 | 3.3605e-08
P_gen_MW | 1 | 26 | 2.3429e-08
P_gen_MW | 1 | 27 | 2.5428e-08
P_gen_MW | 1 | 28 | 3.2052e-08
P_gen_MW | 1 | 29 | 3.6638e-08
P_gen_MW | 1 | 30 | 4.2226e-08
P_gen_MW | 1 | 31 | 5.0873e-08
P_gen_MW | 1 | 32 | 5.2818e-08
P_gen_MW | 1 | 33 | 5.2898e-08

## Q_gen_MVar
Variable_name | Index: Gens | Index: Buses | Value
Q_gen_MVar | 1 | 1 | 2.3879
Q_gen_MVar | 1 | 2 | -1.6679e-06
Q_gen_MVar | 1 | 3 | -2.6868e-07
Q_gen_MVar | 1 | 4 | -1.9166e-07
Q_gen_MVar | 1 | 5 | -1.44e-07
Q_gen_MVar | 1 | 6 | -8.2931e-08
Q_gen_MVar | 1 | 7 | -8.1573e-08
Q_gen_MVar | 1 | 8 | -7.7422e-08
Q_gen_MVar | 1 | 9 | -6.0464e-08
Q_gen_MVar | 1 | 10 | -5.9699e-08
Q_gen_MVar | 1 | 11 | -5.9746e-08
Q_gen_MVar | 1 | 12 | -6.0654e-08
Q_gen_MVar | 1 | 13 | -4.4097e-08
Q_gen_MVar | 1 | 14 | -3.9554e-08
Q_gen_MVar | 1 | 15 | -3.7755e-08
Q_gen_MVar | 1 | 16 | -2.9468e-08
Q_gen_MVar | 1 | 17 | -1.713e-08
Q_gen_MVar | 1 | 18 | -1.2169e-08
Q_gen_MVar | 1 | 19 | -1.058e-06
Q_gen_MVar | 1 | 20 | -1.8911e-07
Q_gen_MVar | 1 | 21 | -1.405e-07
Q_gen_MVar | 1 | 22 | -1.0945e-07
Q_gen_MVar | 1 | 23 | -1.6421e-07
Q_gen_MVar | 1 | 24 | -7.139e-08
Q_gen_MVar | 1 | 25 | -3.5051e-08
Q_gen_MVar | 1 | 26 | -7.5111e-08
Q_gen_MVar | 1 | 27 | -6.5742e-08
Q_gen_MVar | 1 | 28 | -3.9422e-08
Q_gen_MVar | 1 | 29 | -2.5027e-08
Q_gen_MVar | 1 | 30 | -1.0813e-08
Q_gen_MVar | 1 | 31 | -8.1756e-09
Q_gen_MVar | 1 | 32 | -8.1906e-09
Q_gen_MVar | 1 | 33 | -9.6009e-09

## V_mag_kv
Variable_name | Index: Buses | Value
V_mag_kv | 1 | 12.66
V_mag_kv | 2 | 12.6232
V_mag_kv | 3 | 12.4858
V_mag_kv | 4 | 12.4391
V_mag_kv | 5 | 12.3954
V_mag_kv | 6 | 12.2935
V_mag_kv | 7 | 12.2812
V_mag_kv | 8 | 12.267
V_mag_kv | 9 | 12.2253
V_mag_kv | 10 | 12.2199
V_mag_kv | 11 | 12.2199
V_mag_kv | 12 | 12.2215
V_mag_kv | 13 | 12.1785
V_mag_kv | 14 | 12.1632
V_mag_kv | 15 | 12.1587
V_mag_kv | 16 | 12.1358
V_mag_kv | 17 | 12.0911
V_mag_kv | 18 | 12.0771
V_mag_kv | 19 | 12.6009
V_mag_kv | 20 | 12.4162
V_mag_kv | 21 | 12.3645
V_mag_kv | 22 | 12.3173
V_mag_kv | 23 | 12.4161
V_mag_kv | 24 | 12.2802
V_mag_kv | 25 | 12.1871
V_mag_kv | 26 | 12.2808
V_mag_kv | 27 | 12.2648
V_mag_kv | 28 | 12.1995
V_mag_kv | 29 | 12.1553
V_mag_kv | 30 | 12.1149
V_mag_kv | 31 | 12.0754
V_mag_kv | 32 | 12.0685
V_mag_kv | 33 | 12.0713

## V_ang_deg
Variable_name | Index: Buses | Value
V_ang_deg | 1 | -2.3259e-36
V_ang_deg | 2 | 0.014258
V_ang_deg | 3 | 0.052574
V_ang_deg | 4 | 0.05739
V_ang_deg | 5 | 0.059762
V_ang_deg | 6 | -0.050583
V_ang_deg | 7 | -0.14638
V_ang_deg | 8 | -0.1651
V_ang_deg | 9 | -0.19372
V_ang_deg | 10 | -0.21757
V_ang_deg | 11 | -0.22007
V_ang_deg | 12 | -0.227
V_ang_deg | 13 | -0.22619
V_ang_deg | 14 | -0.24105
V_ang_deg | 15 | -0.23559
V_ang_deg | 16 | -0.21483
V_ang_deg | 17 | -0.21204
V_ang_deg | 18 | -0.17925
V_ang_deg | 19 | -0.00012282
V_ang_deg | 20 | -0.081761
V_ang_deg | 21 | -0.13182
V_ang_deg | 22 | -0.19233
V_ang_deg | 23 | 0.044487
V_ang_deg | 24 | -0.012479
V_ang_deg | 25 | -0.023244
V_ang_deg | 26 | -0.039902
V_ang_deg | 27 | -0.024301
V_ang_deg | 28 | -0.028586
V_ang_deg | 29 | -0.020444
V_ang_deg | 30 | 0.048825
V_ang_deg | 31 | -0.084829
V_ang_deg | 32 | -0.12392
V_ang_deg | 33 | -0.15071

## I_line_re
Variable_name | Index: Lines | Value
I_line_re | 1 | 0.38383
I_line_re | 2 | 0.27155
I_line_re | 3 | 0.12681
I_line_re | 4 | 0.11459
I_line_re | 5 | 0.10846
I_line_re | 6 | 0.04547
I_line_re | 7 | 0.024879
I_line_re | 8 | 0.037311
I_line_re | 9 | 0.0072901
I_line_re | 10 | 0.0010819
I_line_re | 11 | -0.0035682
I_line_re | 12 | 0.022779
I_line_re | 13 | 0.016557
I_line_re | 14 | 0.0041016
I_line_re | 15 | 0.021673
I_line_re | 16 | 0.015422
I_line_re | 17 | 0.0091473
I_line_re | 18 | 0.10225
I_line_re | 19 | 0.093204
I_line_re | 20 | 0.084033
I_line_re | 21 | 0.041785
I_line_re | 22 | 0.13561
I_line_re | 23 | 0.12643
I_line_re | 24 | 0.083138
I_line_re | 25 | 0.056811
I_line_re | 26 | 0.050627
I_line_re | 27 | 0.044435
I_line_re | 28 | 0.038209
I_line_re | 29 | 0.06523
I_line_re | 30 | 0.044277
I_line_re | 31 | 0.028562
I_line_re | 32 | 0.0065554
I_line_re | 33 | 0.033042
I_line_re | 34 | 0.023815
I_line_re | 35 | -0.032548
I_line_re | 36 | -0.00027387
I_line_re | 37 | 0.039517

## I_line_im
Variable_name | Index: Lines | Value
I_line_im | 1 | -0.23879
I_line_im | 2 | -0.15966
I_line_im | 3 | -0.068051
I_line_im | 4 | -0.059921
I_line_im | 5 | -0.056864
I_line_im | 6 | -0.011514
I_line_im | 7 | -0.0011529
I_line_im | 8 | -0.019447
I_line_im | 9 | 0.00097875
I_line_im | 10 | 0.0030744
I_line_im | 11 | 0.0062003
I_line_im | 12 | -0.018219
I_line_im | 13 | -0.014556
I_line_im | 14 | -0.006177
I_line_im | 15 | -0.023444
I_line_im | 16 | -0.021334
I_line_im | 17 | -0.019217
I_line_im | 18 | -0.073113
I_line_im | 19 | -0.069095
I_line_im | 20 | -0.065003
I_line_im | 21 | -0.032212
I_line_im | 22 | -0.087566
I_line_im | 23 | -0.082475
I_line_im | 24 | -0.061847
I_line_im | 25 | -0.043284
I_line_im | 26 | -0.040703
I_line_im | 27 | -0.03812
I_line_im | 28 | -0.036041
I_line_im | 29 | -0.069799
I_line_im | 30 | -0.0071174
I_line_im | 31 | 0.00024478
I_line_im | 32 | 0.010782
I_line_im | 33 | -0.028674
I_line_im | 34 | -0.018334
I_line_im | 35 | 0.02807
I_line_im | 36 | -0.014994
I_line_im | 37 | -0.041053

## I_line_sq
Variable_name | Index: Lines | Value
I_line_sq | 1 | 0.20435
I_line_sq | 2 | 0.099233
I_line_sq | 3 | 0.020712
I_line_sq | 4 | 0.016721
I_line_sq | 5 | 0.014996
I_line_sq | 6 | 0.0022001
I_line_sq | 7 | 0.00062031
I_line_sq | 8 | 0.0017703
I_line_sq | 9 | 5.4103e-05
I_line_sq | 10 | 1.0622e-05
I_line_sq | 11 | 5.1176e-05
I_line_sq | 12 | 0.00085084
I_line_sq | 13 | 0.000486
I_line_sq | 14 | 5.4978e-05
I_line_sq | 15 | 0.0010193
I_line_sq | 16 | 0.00069297
I_line_sq | 17 | 0.00045295
I_line_sq | 18 | 0.0158
I_line_sq | 19 | 0.013461
I_line_sq | 20 | 0.011287
I_line_sq | 21 | 0.0027836
I_line_sq | 22 | 0.026059
I_line_sq | 23 | 0.022787
I_line_sq | 24 | 0.010737
I_line_sq | 25 | 0.005101
I_line_sq | 26 | 0.0042198
I_line_sq | 27 | 0.0034276
I_line_sq | 28 | 0.0027589
I_line_sq | 29 | 0.0091269
I_line_sq | 30 | 0.0020111
I_line_sq | 31 | 0.00081584
I_line_sq | 32 | 0.00015924
I_line_sq | 33 | 0.001914
I_line_sq | 34 | 0.00090326
I_line_sq | 35 | 0.0018473
I_line_sq | 36 | 0.0002249
I_line_sq | 37 | 0.0032469