## Variable_list
Name | Variable | Expression
V_mag | 1 | 0
V_ang | 1 | 0
V_ang(Deg) | 1 | 0
PGen | 1 | 0
QGen | 1 | 0
Line_Status | 1 | 0
PDem | 0 | 1
QDem | 0 | 1
P_line_flow_sending | 0 | 1
Q_line_flow_sending | 0 | 1
P_line_flow_receiving | 0 | 1
Q_line_flow_receiving | 0 | 1
P_line_loss | 0 | 1
Q_line_loss | 0 | 1
S_line_flow_sending | 0 | 1
S_line_flow_receiving | 0 | 1
P_gen_MW | 0 | 1
Q_gen_MVar | 0 | 1
V_mag_kv | 0 | 1
V_ang_deg | 0 | 1
I_line_re | 0 | 1
I_line_im | 0 | 1
I_line_sq | 0 | 1

## V_mag
Variable_name | Index: Buses | Value
V_mag | 1 | 1
V_mag | 2 | 0.99709
V_mag | 3 | 0.98627
V_mag | 4 | 0.9826
V_mag | 5 | 0.97916
V_mag | 6 | 0.97115
V_mag | 7 | 0.97018
V_mag | 8 | 0.96911
V_mag | 9 | 0.96603
V_mag | 10 | 0.9644
V_mag | 11 | 0.96448
V_mag | 12 | 0.96477
V_mag | 13 | 0.9617
V_mag | 14 | 0.9606
V_mag | 15 | 0.96037
V_mag | 16 | 0.95858
V_mag | 17 | 0.95506
V_mag | 18 | 0.95397
V_mag | 19 | 0.99532
V_mag | 20 | 0.98066
V_mag | 21 | 0.97655
V_mag | 22 | 0.9727
V_mag | 23 | 0.98077
V_mag | 24 | 0.97004
V_mag | 25 | 0.96269
V_mag | 26 | 0.97015
V_mag | 27 | 0.96887
V_mag | 28 | 0.96369
V_mag | 29 | 0.96018
V_mag | 30 | 0.95698
V_mag | 31 | 0.95385
V_mag | 32 | 0.9533
V_mag | 33 | 0.95351

## V_ang
Variable_name | Index: Buses | Value
V_ang | 1 | 0
V_ang | 2 | 0.00024894
V_ang | 3 | 0.00093814
V_ang | 4 | 0.0010368
V_ang | 5 | 0.0010935
V_ang | 6 | -0.00078269
V_ang | 7 | -0.0023989
V_ang | 8 | -0.0026922
V_ang | 9 | -0.0029805
V_ang | 10 | -0.0047664
V_ang | 11 | -0.0047666
V_ang | 12 | -0.0048049
V_ang | 13 | -0.0044393
V_ang | 14 | -0.0044946
V_ang | 15 | -0.004241
V_ang | 16 | -0.0038613
V_ang | 17 | -0.0037647
V_ang | 18 | -0.0031741
V_ang | 19 | -1.303e-05
V_ang | 20 | -0.0015355
V_ang | 21 | -0.0024432
V_ang | 22 | -0.0037168
V_ang | 23 | 0.00079849
V_ang | 24 | -0.00019206
V_ang | 25 | -0.00037629
V_ang | 26 | -0.00060043
V_ang | 27 | -0.00033399
V_ang | 28 | -0.00044175
V_ang | 29 | -0.0003247
V_ang | 30 | 0.00087477
V_ang | 31 | -0.0014865
V_ang | 32 | -0.0021792
V_ang | 33 | -0.0026612

## V_ang(Deg)
Variable_name | Index: Buses | Value
V_ang(Deg) | 1 | 0
V_ang(Deg) | 2 | 0.014263
V_ang(Deg) | 3 | 0.053752
V_ang(Deg) | 4 | 0.059403
V_ang(Deg) | 5 | 0.062653
V_ang(Deg) | 6 | -0.044845
V_ang(Deg) | 7 | -0.13745
V_ang(Deg) | 8 | -0.15425
V_ang(Deg) | 9 | -0.17077
V_ang(Deg) | 10 | -0.27309
V_ang(Deg) | 11 | -0.27311
V_ang(Deg) | 12 | -0.2753
V_ang(Deg) | 13 | -0.25436
V_ang(Deg) | 14 | -0.25752
V_ang(Deg) | 15 | -0.24299
V_ang(Deg) | 16 | -0.22124
V_ang(Deg) | 17 | -0.2157
V_ang(Deg) | 18 | -0.18186
V_ang(Deg) | 19 | -0.00074657
V_ang(Deg) | 20 | -0.087978
V_ang(Deg) | 21 | -0.13998
V_ang(Deg) | 22 | -0.21296
V_ang(Deg) | 23 | 0.04575
V_ang(Deg) | 24 | -0.011004
V_ang(Deg) | 25 | -0.02156
V_ang(Deg) | 26 | -0.034402
V_ang(Deg) | 27 | -0.019136
V_ang(Deg) | 28 | -0.025311
V_ang(Deg) | 29 | -0.018604
V_ang(Deg) | 30 | 0.050121
V_ang(Deg) | 31 | -0.085169
V_ang(Deg) | 32 | -0.12486
V_ang(Deg) | 33 | -0.15247

## PGen
Variable_name | Index: Gens | Index: Buses | Value
PGen | 1 | 1 | 0.38383
PGen | 1 | 2 | 0
PGen | 1 | 3 | 0
PGen | 1 | 4 | 0
PGen | 1 | 5 | 0
PGen | 1 | 6 | 0
PGen | 1 | 7 | 0
PGen | 1 | 8 | 0
PGen | 1 | 9 | 0
PGen | 1 | 10 | 0
PGen | 1 | 11 | 0
PGen | 1 | 12 | 0
PGen | 1 | 13 | 0
PGen | 1 | 14 | 0
PGen | 1 | 15 | 0
PGen | 1 | 16 | 0
PGen | 1 | 17 | 0
PGen | 1 | 18 | 0
PGen | 1 | 19 | 0
PGen | 1 | 20 | 0
PGen | 1 | 21 | 0
PGen | 1 | 22 | 0
PGen | 1 | 23 | 0
PGen | 1 | 24 | 0
PGen | 1 | 25 | 0
PGen | 1 | 26 | 0
PGen | 1 | 27 | 0
PGen | 1 | 28 | 0
PGen | 1 | 29 | 0
PGen | 1 | 30 | 0
PGen | 1 | 31 | 0
PGen | 1 | 32 | 0
PGen | 1 | 33 | 0

## QGen
Variable_name | Index: Gens | Index: Buses | Value
QGen | 1 | 1 | 0.23881
QGen | 1 | 2 | 0
QGen | 1 | 3 | 0
QGen | 1 | 4 | 0
QGen | 1 | 5 | 0
QGen | 1 | 6 | 0
QGen | 1 | 7 | 0
QGen | 1 | 8 | 0
QGen | 1 | 9 | 0
QGen | 1 | 10 | 0
QGen | 1 | 11 | 0
QGen | 1 | 12 | 0
QGen | 1 | 13 | 0
QGen | 1 | 14 | 0
QGen | 1 | 15 | 0
QGen | 1 | 16 | 0
QGen | 1 | 17 | 0
QGen | 1 | 18 | 0
QGen | 1 | 19 | 0
QGen | 1 | 20 | 0
QGen | 1 | 21 | 0
QGen | 1 | 22 | 0
QGen | 1 | 23 | 0
QGen | 1 | 24 | 0
QGen | 1 | 25 | 0
QGen | 1 | 26 | 0
QGen | 1 | 27 | 0
QGen | 1 | 28 | 0
QGen | 1 | 29 | 0
QGen | 1 | 30 | 0
QGen | 1 | 31 | 0
QGen | 1 | 32 | 0
QGen | 1 | 33 | 0

## Line_Status
Variable_name | Index: Lines | Value
Line_Status | 1 | 1
Line_Status | 2 | 1
Line_Status | 3 | 1
Line_Status | 4 | 1
Line_Status | 5 | 1
Line_Status | 6 | 1
Line_Status | 7 | 1
Line_Status | 8 | 1
Line_Status | 9 | 0
Line_Status | 10 | 1
Line_Status | 11 | 1
Line_Status | 12 | 1
Line_Status | 13 | 1
Line_Status | 14 | 1
Line_Status | 15 | 1
Line_Status | 16 | 1
Line_Status | 17 | 1
Line_Status | 18 | 1
Line_Status | 19 | 1
Line_Status | 20 | 1
Line_Status | 21 | 1
Line_Status | 22 | 1
Line_Status | 23 | 1
Line_Status | 24 | 1
Line_Status | 25 | 1
Line_Status | 26 | 1
Line_Status | 27 | 1
Line_Status | 28 | 1
Line_Status | 29 | 1
Line_Status | 30 | 1
Line_Status | 31 | 1
Line_Status | 32 | 1
Line_Status | 33 | 1
Line_Status | 34 | 1
Line_Status | 35 | 1
Line_Status | 36 | 1
Line_Status | 37 | 1

## PDem
Variable_name | Index: Buses | Value
PDem | 1 | 0
PDem | 2 | 0.01
PDem | 3 | 0.009
PDem | 4 | 0.012
PDem | 5 | 0.006
PDem | 6 | 0.006
PDem | 7 | 0.02
PDem | 8 | 0.02
PDem | 9 | 0.006
PDem | 10 | 0.006
PDem | 11 | 0.0045
PDem | 12 | 0.006
PDem | 13 | 0.006
PDem | 14 | 0.012
PDem | 15 | 0.006
PDem | 16 | 0.006
PDem | 17 | 0.006
PDem | 18 | 0.009
PDem | 19 | 0.009
PDem | 20 | 0.009
PDem | 21 | 0.009
PDem | 22 | 0.009
PDem | 23 | 0.009
PDem | 24 | 0.042
PDem | 25 | 0.042
PDem | 26 | 0.006
PDem | 27 | 0.006
PDem | 28 | 0.006
PDem | 29 | 0.012
PDem | 30 | 0.02
PDem | 31 | 0.015
PDem | 32 | 0.021
PDem | 33 | 0.006

## QDem
Variable_name | Index: Buses | Value
QDem | 1 | 0
QDem | 2 | 0.006
QDem | 3 | 0.004
QDem | 4 | 0.008
QDem | 5 | 0.003
QDem | 6 | 0.002
QDem | 7 | 0.01
QDem | 8 | 0.01
QDem | 9 | 0.002
QDem | 10 | 0.002
QDem | 11 | 0.003
QDem | 12 | 0.0035
QDem | 13 | 0.0035
QDem | 14 | 0.008
QDem | 15 | 0.001
QDem | 16 | 0.002
QDem | 17 | 0.002
QDem | 18 | 0.004
QDem | 19 | 0.004
QDem | 20 | 0.004
QDem | 21 | 0.004
QDem | 22 | 0.004
QDem | 23 | 0.005
QDem | 24 | 0.02
QDem | 25 | 0.02
QDem | 26 | 0.0025
QDem | 27 | 0.0025
QDem | 28 | 0.002
QDem | 29 | 0.007
QDem | 30 | 0.06
QDem | 31 | 0.007
QDem | 32 | 0.01
QDem | 33 | 0.004

## P_line_flow_sending
Variable_name | Index: Lines | Value
P_line_flow_sending | 1 | 0.38383
P_line_flow_sending | 2 | 0.26976
P_line_flow_sending | 3 | 0.12415
P_line_flow_sending | 4 | 0.11168
P_line_flow_sending | 5 | 0.10529
P_line_flow_sending | 6 | 0.042898
P_line_flow_sending | 7 | 0.022874
P_line_flow_sending | 8 | 0.032673
P_line_flow_sending | 9 | 0.028186
P_line_flow_sending | 10 | -0.006
P_line_flow_sending | 11 | -0.010501
P_line_flow_sending | 12 | 0.018218
P_line_flow_sending | 13 | 0.012153
P_line_flow_sending | 14 | 0.00013988
P_line_flow_sending | 15 | 0.020579
P_line_flow_sending | 16 | 0.014532
P_line_flow_sending | 17 | 0.0084762
P_line_flow_sending | 18 | 0.10289
P_line_flow_sending | 19 | 0.093728
P_line_flow_sending | 20 | 0.08345
P_line_flow_sending | 21 | 0.044112
P_line_flow_sending | 22 | 0.13357
P_line_flow_sending | 23 | 0.12384
P_line_flow_sending | 24 | 0.080563
P_line_flow_sending | 25 | 0.055631
P_line_flow_sending | 26 | 0.049566
P_line_flow_sending | 27 | 0.043491
P_line_flow_sending | 28 | 0.037262
P_line_flow_sending | 29 | 0.062985
P_line_flow_sending | 30 | 0.042695
P_line_flow_sending | 31 | 0.027571
P_line_flow_sending | 32 | 0.006555
P_line_flow_sending | 33 | 0.030045
P_line_flow_sending | 34 | 0.026574
P_line_flow_sending | 35 | -0.034722
P_line_flow_sending | 36 | -0.00054436
P_line_flow_sending | 37 | 0.037964

## Q_line_flow_sending
Variable_name | Index: Lines | Value
Q_line_flow_sending | 1 | 0.23881
Q_line_flow_sending | 2 | 0.15943
Q_line_flow_sending | 3 | 0.067414
Q_line_flow_sending | 4 | 0.059176
Q_line_flow_sending | 5 | 0.055975
Q_line_flow_sending | 6 | 0.011427
Q_line_flow_sending | 7 | 0.0013467
Q_line_flow_sending | 8 | 0.019273
Q_line_flow_sending | 9 | -0.0055637
Q_line_flow_sending | 10 | -0.002
Q_line_flow_sending | 11 | -0.0050002
Q_line_flow_sending | 12 | 0.018037
Q_line_flow_sending | 13 | 0.014486
Q_line_flow_sending | 14 | 0.0064687
Q_line_flow_sending | 15 | 0.022536
Q_line_flow_sending | 16 | 0.020502
Q_line_flow_sending | 17 | 0.018428
Q_line_flow_sending | 18 | 0.072778
Q_line_flow_sending | 19 | 0.068622
Q_line_flow_sending | 20 | 0.06347
Q_line_flow_sending | 21 | 0.030972
Q_line_flow_sending | 22 | 0.086469
Q_line_flow_sending | 23 | 0.080968
Q_line_flow_sending | 24 | 0.059961
Q_line_flow_sending | 25 | 0.041894
Q_line_flow_sending | 26 | 0.03936
Q_line_flow_sending | 27 | 0.036822
Q_line_flow_sending | 28 | 0.03462
Q_line_flow_sending | 29 | 0.06689
Q_line_flow_sending | 30 | 0.0067425
Q_line_flow_sending | 31 | -0.00038006
Q_line_flow_sending | 32 | -0.010399
Q_line_flow_sending | 33 | 0.028157
Q_line_flow_sending | 34 | 0.017203
Q_line_flow_sending | 35 | -0.026538
Q_line_flow_sending | 36 | 0.014412
Q_line_flow_sending | 37 | 0.039492

## P_line_flow_receiving
Variable_name | Index: Lines | Value
P_line_flow_receiving | 1 | -0.38265
P_line_flow_receiving | 2 | -0.26672
P_line_flow_receiving | 3 | -0.12368
P_line_flow_receiving | 4 | -0.11129
P_line_flow_receiving | 5 | -0.10453
P_line_flow_receiving | 6 | -0.042874
P_line_flow_receiving | 7 | -0.022849
P_line_flow_receiving | 8 | -0.032574
P_line_flow_receiving | 9 | -0.028128
P_line_flow_receiving | 10 | 0.0060005
P_line_flow_receiving | 11 | 0.010504
P_line_flow_receiving | 12 | -0.018153
P_line_flow_receiving | 13 | -0.01214
P_line_flow_receiving | 14 | -0.00013821
P_line_flow_receiving | 15 | -0.020532
P_line_flow_receiving | 16 | -0.014476
P_line_flow_receiving | 17 | -0.0084556
P_line_flow_receiving | 18 | -0.10273
P_line_flow_receiving | 19 | -0.09245
P_line_flow_receiving | 20 | -0.083158
P_line_flow_receiving | 21 | -0.043978
P_line_flow_receiving | 22 | -0.13284
P_line_flow_receiving | 23 | -0.12256
P_line_flow_receiving | 24 | -0.079964
P_line_flow_receiving | 25 | -0.055566
P_line_flow_receiving | 26 | -0.049491
P_line_flow_receiving | 27 | -0.043262
P_line_flow_receiving | 28 | -0.037122
P_line_flow_receiving | 29 | -0.062695
P_line_flow_receiving | 30 | -0.042571
P_line_flow_receiving | 31 | -0.027555
P_line_flow_receiving | 32 | -0.0065515
P_line_flow_receiving | 33 | -0.029823
P_line_flow_receiving | 34 | -0.02644
P_line_flow_receiving | 35 | 0.034978
P_line_flow_receiving | 36 | 0.00055149
P_line_flow_receiving | 37 | -0.037863

## Q_line_flow_receiving
Variable_name | Index: Lines | Value
Q_line_flow_receiving | 1 | -0.23821
Q_line_flow_receiving | 2 | -0.15788
Q_line_flow_receiving | 3 | -0.067176
Q_line_flow_receiving | 4 | -0.058975
Q_line_flow_receiving | 5 | -0.055321
Q_line_flow_receiving | 6 | -0.011347
Q_line_flow_receiving | 7 | -0.0013385
Q_line_flow_receiving | 8 | -0.019203
Q_line_flow_receiving | 9 | 0.0056046
Q_line_flow_receiving | 10 | 0.0020002
Q_line_flow_receiving | 11 | 0.0050013
Q_line_flow_receiving | 12 | -0.017986
Q_line_flow_receiving | 13 | -0.014469
Q_line_flow_receiving | 14 | -0.0064672
Q_line_flow_receiving | 15 | -0.022502
Q_line_flow_receiving | 16 | -0.020428
Q_line_flow_receiving | 17 | -0.018412
Q_line_flow_receiving | 18 | -0.072622
Q_line_flow_receiving | 19 | -0.06747
Q_line_flow_receiving | 20 | -0.063129
Q_line_flow_receiving | 21 | -0.030794
Q_line_flow_receiving | 22 | -0.085968
Q_line_flow_receiving | 23 | -0.079961
Q_line_flow_receiving | 24 | -0.059492
Q_line_flow_receiving | 25 | -0.04186
Q_line_flow_receiving | 26 | -0.039322
Q_line_flow_receiving | 27 | -0.03662
Q_line_flow_receiving | 28 | -0.034499
Q_line_flow_receiving | 29 | -0.066743
Q_line_flow_receiving | 30 | -0.0066199
Q_line_flow_receiving | 31 | 0.00039893
Q_line_flow_receiving | 32 | 0.010404
Q_line_flow_receiving | 33 | -0.027935
Q_line_flow_receiving | 34 | -0.017069
Q_line_flow_receiving | 35 | 0.026794
Q_line_flow_receiving | 36 | -0.014404
Q_line_flow_receiving | 37 | -0.039391

## P_line_loss
Variable_name | Index: Lines | Value
P_line_loss | 1 | 0.011755
P_line_loss | 2 | 0.030378
P_line_loss | 3 | 0.0046853
P_line_loss | 4 | 0.0039341
P_line_loss | 5 | 0.0075782
P_line_loss | 6 | 0.00024407
P_line_loss | 7 | 0.00024759
P_line_loss | 8 | 0.00098463
P_line_loss | 9 | 0
P_line_loss | 10 | 5.2755e-06
P_line_loss | 11 | 3.3967e-05
P_line_loss | 12 | 0.00064671
P_line_loss | 13 | 0.00013063
P_line_loss | 14 | 1.6729e-05
P_line_loss | 15 | 0.00047019
P_line_loss | 16 | 0.0005527
P_line_loss | 17 | 0.000206
P_line_loss | 18 | 0.0016347
P_line_loss | 19 | 0.012783
P_line_loss | 20 | 0.0029204
P_line_loss | 21 | 0.0013474
P_line_loss | 22 | 0.0073273
P_line_loss | 23 | 0.012751
P_line_loss | 24 | 0.005992
P_line_loss | 25 | 0.00065131
P_line_loss | 26 | 0.00075474
P_line_loss | 27 | 0.0022857
P_line_loss | 28 | 0.0013977
P_line_loss | 29 | 0.0028992
P_line_loss | 30 | 0.0012403
P_line_loss | 31 | 0.00016189
P_line_loss | 32 | 3.5376e-05
P_line_loss | 33 | 0.0022186
P_line_loss | 34 | 0.00134
P_line_loss | 35 | 0.0025604
P_line_loss | 36 | 7.1298e-05
P_line_loss | 37 | 0.0010101

## Q_line_loss
Variable_name | Index: Lines | Value
Q_line_loss | 1 | 0.0059925
Q_line_loss | 2 | 0.015473
Q_line_loss | 3 | 0.0023862
Q_line_loss | 4 | 0.0020037
Q_line_loss | 5 | 0.0065419
Q_line_loss | 6 | 0.0008068
Q_line_loss | 7 | 8.1822e-05
Q_line_loss | 8 | 0.0007074
Q_line_loss | 9 | 0.00040837
Q_line_loss | 10 | 1.7442e-06
Q_line_loss | 11 | 1.1232e-05
Q_line_loss | 12 | 0.00050882
Q_line_loss | 13 | 0.00017195
Q_line_loss | 14 | 1.4889e-05
Q_line_loss | 15 | 0.00034337
Q_line_loss | 16 | 0.00073793
Q_line_loss | 17 | 0.00016154
Q_line_loss | 18 | 0.00156
Q_line_loss | 19 | 0.011519
Q_line_loss | 20 | 0.0034118
Q_line_loss | 21 | 0.0017815
Q_line_loss | 22 | 0.0050067
Q_line_loss | 23 | 0.010069
Q_line_loss | 24 | 0.0046886
Q_line_loss | 25 | 0.00033175
Q_line_loss | 26 | 0.00038428
Q_line_loss | 27 | 0.0020152
Q_line_loss | 28 | 0.0012177
Q_line_loss | 29 | 0.0014767
Q_line_loss | 30 | 0.0012258
Q_line_loss | 31 | 0.00018869
Q_line_loss | 32 | 5.5004e-05
Q_line_loss | 33 | 0.0022186
Q_line_loss | 34 | 0.00134
Q_line_loss | 35 | 0.0025604
Q_line_loss | 36 | 7.1298e-05
Q_line_loss | 37 | 0.0010101

## S_line_flow_sending
Variable_name | Index: Lines | Value
S_line_flow_sending | 1 | 0.20435
S_line_flow_sending | 2 | 0.098188
S_line_flow_sending | 3 | 0.019958
S_line_flow_sending | 4 | 0.015974
S_line_flow_sending | 5 | 0.014219
S_line_flow_sending | 6 | 0.0019709
S_line_flow_sending | 7 | 0.00052504
S_line_flow_sending | 8 | 0.001439
S_line_flow_sending | 9 | 0.0008254
S_line_flow_sending | 10 | 4e-05
S_line_flow_sending | 11 | 0.00013526
S_line_flow_sending | 12 | 0.00065721
S_line_flow_sending | 13 | 0.00035754
S_line_flow_sending | 14 | 4.1864e-05
S_line_flow_sending | 15 | 0.00093134
S_line_flow_sending | 16 | 0.00063148
S_line_flow_sending | 17 | 0.00041143
S_line_flow_sending | 18 | 0.015883
S_line_flow_sending | 19 | 0.013494
S_line_flow_sending | 20 | 0.010992
S_line_flow_sending | 21 | 0.0029052
S_line_flow_sending | 22 | 0.025318
S_line_flow_sending | 23 | 0.021892
S_line_flow_sending | 24 | 0.010086
S_line_flow_sending | 25 | 0.0048499
S_line_flow_sending | 26 | 0.004006
S_line_flow_sending | 27 | 0.0032473
S_line_flow_sending | 28 | 0.002587
S_line_flow_sending | 29 | 0.0084414
S_line_flow_sending | 30 | 0.0018683
S_line_flow_sending | 31 | 0.00076032
S_line_flow_sending | 32 | 0.00015111
S_line_flow_sending | 33 | 0.0016955
S_line_flow_sending | 34 | 0.0010021
S_line_flow_sending | 35 | 0.0019099
S_line_flow_sending | 36 | 0.00020799
S_line_flow_sending | 37 | 0.0030009

## S_line_flow_receiving
Variable_name | Index: Lines | Value
S_line_flow_receiving | 1 | 0.20316
S_line_flow_receiving | 2 | 0.096067
S_line_flow_receiving | 3 | 0.01981
S_line_flow_receiving | 4 | 0.015863
S_line_flow_receiving | 5 | 0.013987
S_line_flow_receiving | 6 | 0.0019669
S_line_flow_receiving | 7 | 0.00052388
S_line_flow_receiving | 8 | 0.0014298
S_line_flow_receiving | 9 | 0.00082261
S_line_flow_receiving | 10 | 4.0007e-05
S_line_flow_receiving | 11 | 0.00013535
S_line_flow_receiving | 12 | 0.00065302
S_line_flow_receiving | 13 | 0.00035672
S_line_flow_receiving | 14 | 4.1844e-05
S_line_flow_receiving | 15 | 0.00092786
S_line_flow_receiving | 16 | 0.00062685
S_line_flow_receiving | 17 | 0.00041048
S_line_flow_receiving | 18 | 0.015827
S_line_flow_receiving | 19 | 0.013099
S_line_flow_receiving | 20 | 0.0109
S_line_flow_receiving | 21 | 0.0028823
S_line_flow_receiving | 22 | 0.025037
S_line_flow_receiving | 23 | 0.021416
S_line_flow_receiving | 24 | 0.0099336
S_line_flow_receiving | 25 | 0.0048399
S_line_flow_receiving | 26 | 0.0039955
S_line_flow_receiving | 27 | 0.0032127
S_line_flow_receiving | 28 | 0.0025682
S_line_flow_receiving | 29 | 0.0083853
S_line_flow_receiving | 30 | 0.0018561
S_line_flow_receiving | 31 | 0.00075944
S_line_flow_receiving | 32 | 0.00015117
S_line_flow_receiving | 33 | 0.0016698
S_line_flow_receiving | 34 | 0.00099043
S_line_flow_receiving | 35 | 0.0019414
S_line_flow_receiving | 36 | 0.00020779
S_line_flow_receiving | 37 | 0.0029853

## P_gen_MW
Variable_name | Index: Gens | Index: Buses | Value
P_gen_MW | 1 | 1 | 3.8383
P_gen_MW | 1 | 2 | 0
P_gen_MW | 1 | 3 | 0
P_gen_MW | 1 | 4 | 0
P_gen_MW | 1 | 5 | 0
P_gen_MW | 1 | 6 | 0
P_gen_MW | 1 | 7 | 0
P_gen_MW | 1 | 8 | 0
P_gen_MW | 1 | 9 | 0
P_gen_MW | 1 | 10 | 0
P_gen_MW | 1 | 11 | 0
P_gen_MW | 1 | 12 | 0
P_gen_MW | 1 | 13 | 0
P_gen_MW | 1 | 14 | 0
P_gen_MW | 1 | 15 | 0
P_gen_MW | 1 | 16 | 0
P_gen_MW | 1 | 17 | 0
P_gen_MW | 1 | 18 | 0
P_gen_MW | 1 | 19 | 0
P_gen_MW | 1 | 20 | 0
P_gen_MW | 1 | 21 | 0
P_gen_MW | 1 | 22 | 0
P_gen_MW | 1 | 23 | 0
P_gen_MW | 1 | 24 | 0
P_gen_MW | 1 | 25 | 0
P_gen_MW | 1 | 26 | 0
P_gen_MW | 1 | 27 | 0
P_gen_MW | 1 | 28 | 0
P_gen_MW | 1 | 29 | 0
P_gen_MW | 1 | 30 | 0
P_gen_MW | 1 | 31 | 0
P_gen_MW | 1 | 32 | 0
P_gen_MW | 1 | 33 | 0

## Q_gen_MVar
Variable_name | Index: Gens | Index: Buses | Value
Q_gen_MVar | 1 | 1 | 2.3881
Q_gen_MVar | 1 | 2 | 0
Q_gen_MVar | 1 | 3 | 0
Q_gen_MVar | 1 | 4 | 0
Q_gen_MVar | 1 | 5 | 0
Q_gen_MVar | 1 | 6 | 0
Q_gen_MVar | 1 | 7 | 0
Q_gen_MVar | 1 | 8 | 0
Q_gen_MVar | 1 | 9 | 0
Q_gen_MVar | 1 | 10 | 0
Q_gen_MVar | 1 | 11 | 0
Q_gen_MVar | 1 | 12 | 0
Q_gen_MVar | 1 | 13 | 0
Q_gen_MVar | 1 | 14 | 0
Q_gen_MVar | 1 | 15 | 0
Q_gen_MVar | 1 | 16 | 0
Q_gen_MVar | 1 | 17 | 0
Q_gen_MVar | 1 | 18 | 0
Q_gen_MVar | 1 | 19 | 0
Q_gen_MVar | 1 | 20 | 0
Q_gen_MVar | 1 | 21 | 0
Q_gen_MVar | 1 | 22 | 0
Q_gen_MVar | 1 | 23 | 0
Q_gen_MVar | 1 | 24 | 0
Q_gen_MVar | 1 | 25 | 0
Q_gen_MVar | 1 | 26 | 0
Q_gen_MVar | 1 | 27 | 0
Q_gen_MVar | 1 | 28 | 0
Q_gen_MVar | 1 | 29 | 0
Q_gen_MVar | 1 | 30 | 0
Q_gen_MVar | 1 | 31 | 0
Q_gen_MVar | 1 | 32 | 0
Q_gen_MVar | 1 | 33 | 0

## V_mag_kv
Variable_name | Index: Buses | Value
V_mag_kv | 1 | 12.66
V_mag_kv | 2 | 12.6232
V_mag_kv | 3 | 12.4861
V_mag_kv | 4 | 12.4397
V_mag_kv | 5 | 12.3962
V_mag_kv | 6 | 12.2947
V_mag_kv | 7 | 12.2825
V_mag_kv | 8 | 12.269
V_mag_kv | 9 | 12.2299
V_mag_kv | 10 | 12.2092
V_mag_kv | 11 | 12.2103
V_mag_kv | 12 | 12.214
V_mag_kv | 13 | 12.1751
V_mag_kv | 14 | 12.1612
V_mag_kv | 15 | 12.1583
V_mag_kv | 16 | 12.1356
V_mag_kv | 17 | 12.0911
V_mag_kv | 18 | 12.0772
V_mag_kv | 19 | 12.6008
V_mag_kv | 20 | 12.4151
V_mag_kv | 21 | 12.3631
V_mag_kv | 22 | 12.3144
V_mag_kv | 23 | 12.4165
V_mag_kv | 24 | 12.2807
V_mag_kv | 25 | 12.1877
V_mag_kv | 26 | 12.282
V_mag_kv | 27 | 12.2659
V_mag_kv | 28 | 12.2004
V_mag_kv | 29 | 12.1559
V_mag_kv | 30 | 12.1154
V_mag_kv | 31 | 12.0757
V_mag_kv | 32 | 12.0688
V_mag_kv | 33 | 12.0715

## V_ang_deg
Variable_name | Index: Buses | Value
V_ang_deg | 1 | 0
V_ang_deg | 2 | 0.014263
V_ang_deg | 3 | 0.053752
V_ang_deg | 4 | 0.059403
V_ang_deg | 5 | 0.062653
V_ang_deg | 6 | -0.044845
V_ang_deg | 7 | -0.13745
V_ang_deg | 8 | -0.15425
V_ang_deg | 9 | -0.17077
V_ang_deg | 10 | -0.27309
V_ang_deg | 11 | -0.27311
V_ang_deg | 12 | -0.2753
V_ang_deg | 13 | -0.25436
V_ang_deg | 14 | -0.25752
V_ang_deg | 15 | -0.24299
V_ang_deg | 16 | -0.22124
V_ang_deg | 17 | -0.2157
V_ang_deg | 18 | -0.18186
V_ang_deg | 19 | -0.00074657
V_ang_deg | 20 | -0.087978
V_ang_deg | 21 | -0.13998
V_ang_deg | 22 | -0.21296
V_ang_deg | 23 | 0.04575
V_ang_deg | 24 | -0.011004
V_ang_deg | 25 | -0.02156
V_ang_deg | 26 | -0.034402
V_ang_deg | 27 | -0.019136
V_ang_deg | 28 | -0.025311
V_ang_deg | 29 | -0.018604
V_ang_deg | 30 | 0.050121
V_ang_deg | 31 | -0.085169
V_ang_deg | 32 | -0.12486
V_ang_deg | 33 | -0.15247

## I_line_re
Variable_name | Index: Lines | Value
I_line_re | 1 | 0.38383
I_line_re | 2 | 0.27058
I_line_re | 3 | 0.12594
I_line_re | 4 | 0.11372
I_line_re | 5 | 0.10759
I_line_re | 6 | 0.044164
I_line_re | 7 | 0.023574
I_line_re | 8 | 0.03366
I_line_re | 9 | 0.029194
I_line_re | 10 | -0.0062116
I_line_re | 11 | -0.010862
I_line_re | 12 | 0.018793
I_line_re | 13 | 0.01257
I_line_re | 14 | 0.00011535
I_line_re | 15 | 0.021328
I_line_re | 16 | 0.015077
I_line_re | 17 | 0.0088024
I_line_re | 18 | 0.10321
I_line_re | 19 | 0.094168
I_line_re | 20 | 0.084996
I_line_re | 21 | 0.045094
I_line_re | 22 | 0.13551
I_line_re | 23 | 0.12633
I_line_re | 24 | 0.083039
I_line_re | 25 | 0.05725
I_line_re | 26 | 0.051067
I_line_re | 27 | 0.044875
I_line_re | 28 | 0.03865
I_line_re | 29 | 0.065574
I_line_re | 30 | 0.044621
I_line_re | 31 | 0.028906
I_line_re | 32 | 0.0068999
I_line_re | 33 | 0.030696
I_line_re | 34 | 0.027456
I_line_re | 35 | -0.035857
I_line_re | 36 | -0.00061858
I_line_re | 37 | 0.03942

## I_line_im
Variable_name | Index: Lines | Value
I_line_im | 1 | -0.23881
I_line_im | 2 | -0.15983
I_line_im | 3 | -0.068235
I_line_im | 4 | -0.060106
I_line_im | 5 | -0.057049
I_line_im | 6 | -0.011801
I_line_im | 7 | -0.0014447
I_line_im | 8 | -0.019978
I_line_im | 9 | 0.0056724
I_line_im | 10 | 0.0021035
I_line_im | 11 | 0.0052362
I_line_im | 12 | -0.018786
I_line_im | 13 | -0.015119
I_line_im | 14 | -0.0067346
I_line_im | 15 | -0.023556
I_line_im | 16 | -0.021446
I_line_im | 17 | -0.019328
I_line_im | 18 | -0.072965
I_line_im | 19 | -0.068946
I_line_im | 20 | -0.064853
I_line_im | 21 | -0.031826
I_line_im | 22 | -0.087546
I_line_im | 23 | -0.082455
I_line_im | 24 | -0.061829
I_line_im | 25 | -0.043183
I_line_im | 26 | -0.040602
I_line_im | 27 | -0.03802
I_line_im | 28 | -0.035942
I_line_im | 29 | -0.069685
I_line_im | 30 | -0.0070066
I_line_im | 31 | 0.00035548
I_line_im | 32 | 0.010893
I_line_im | 33 | -0.028908
I_line_im | 34 | -0.017889
I_line_im | 35 | 0.02768
I_line_im | 36 | -0.015105
I_line_im | 37 | -0.041038

## I_line_sq
Variable_name | Index: Lines | Value
I_line_sq | 1 | 0.20435
I_line_sq | 2 | 0.098761
I_line_sq | 3 | 0.020518
I_line_sq | 4 | 0.016545
I_line_sq | 5 | 0.01483
I_line_sq | 6 | 0.0020897
I_line_sq | 7 | 0.00055781
I_line_sq | 8 | 0.0015322
I_line_sq | 9 | 0.00088448
I_line_sq | 10 | 4.3008e-05
I_line_sq | 11 | 0.00014541
I_line_sq | 12 | 0.00070608
I_line_sq | 13 | 0.00038658
I_line_sq | 14 | 4.5369e-05
I_line_sq | 15 | 0.0010098
I_line_sq | 16 | 0.00068723
I_line_sq | 17 | 0.00045105
I_line_sq | 18 | 0.015976
I_line_sq | 19 | 0.013621
I_line_sq | 20 | 0.01143
I_line_sq | 21 | 0.0030464
I_line_sq | 22 | 0.026028
I_line_sq | 23 | 0.022759
I_line_sq | 24 | 0.010718
I_line_sq | 25 | 0.0051424
I_line_sq | 26 | 0.0042564
I_line_sq | 27 | 0.0034593
I_line_sq | 28 | 0.0027856
I_line_sq | 29 | 0.009156
I_line_sq | 30 | 0.0020401
I_line_sq | 31 | 0.00083567
I_line_sq | 32 | 0.00016627
I_line_sq | 33 | 0.0017779
I_line_sq | 34 | 0.0010738
I_line_sq | 35 | 0.0020519
I_line_sq | 36 | 0.00022855
I_line_sq | 37 | 0.003238