## Variable_list
Name | Variable | Expression
V_mag | 1 | 0
V_ang | 1 | 0
V_ang(Deg) | 1 | 0
PGen | 1 | 0
QGen | 1 | 0
V_mag_kv | 0 | 1
V_ang_deg | 0 | 1
PDem | 0 | 1
QDem | 0 | 1
P_gen_MW | 0 | 1
Q_gen_MVar | 0 | 1
P_line_flow_sending | 0 | 1
Q_line_flow_sending | 0 | 1
P_line_flow_receiving | 0 | 1
Q_line_flow_receiving | 0 | 1
P_line_loss | 0 | 1
Q_line_loss | 0 | 1
I_line_re | 0 | 1
I_line_im | 0 | 1
I_line_sq | 0 | 1
I_line_mag | 0 | 1

## V_mag
Variable_name | Index: Buses | Value
V_mag | 1 | 1
V_mag | 2 | 0.99703
V_mag | 3 | 0.98294
V_mag | 4 | 0.97546
V_mag | 5 | 0.96806
V_mag | 6 | 0.94966
V_mag | 7 | 0.94617
V_mag | 8 | 0.94133
V_mag | 9 | 0.93506
V_mag | 10 | 0.92924
V_mag | 11 | 0.92838
V_mag | 12 | 0.92688
V_mag | 13 | 0.92077
V_mag | 14 | 0.91851
V_mag | 15 | 0.91709
V_mag | 16 | 0.91572
V_mag | 17 | 0.9137
V_mag | 18 | 0.91309
V_mag | 19 | 0.9965
V_mag | 20 | 0.99293
V_mag | 21 | 0.99222
V_mag | 22 | 0.99158
V_mag | 23 | 0.97935
V_mag | 24 | 0.97268
V_mag | 25 | 0.96936
V_mag | 26 | 0.94773
V_mag | 27 | 0.94517
V_mag | 28 | 0.93373
V_mag | 29 | 0.92551
V_mag | 30 | 0.92195
V_mag | 31 | 0.91779
V_mag | 32 | 0.91687
V_mag | 33 | 0.91659

## V_ang
Variable_name | Index: Buses | Value
V_ang | 1 | 1.2364e-34
V_ang | 2 | 0.00025275
V_ang | 3 | 0.0016762
V_ang | 4 | 0.0028213
V_ang | 5 | 0.0039843
V_ang | 6 | 0.0023362
V_ang | 7 | -0.0016838
V_ang | 8 | -0.0010542
V_ang | 9 | -0.0023298
V_ang | 10 | -0.0034211
V_ang | 11 | -0.0032945
V_ang | 12 | -0.0030939
V_ang | 13 | -0.0046877
V_ang | 14 | -0.006061
V_ang | 15 | -0.0067187
V_ang | 16 | -0.0071245
V_ang | 17 | -0.0084731
V_ang | 18 | -0.0086405
V_ang | 19 | 6.3719e-05
V_ang | 20 | -0.0011053
V_ang | 21 | -0.0014431
V_ang | 22 | -0.0017983
V_ang | 23 | 0.0011359
V_ang | 24 | -0.00041284
V_ang | 25 | -0.0011756
V_ang | 26 | 0.0030248
V_ang | 27 | 0.0040049
V_ang | 28 | 0.0054526
V_ang | 29 | 0.0068123
V_ang | 30 | 0.0086496
V_ang | 31 | 0.0071764
V_ang | 32 | 0.0067742
V_ang | 33 | 0.0066393

## V_ang(Deg)
Variable_name | Index: Buses | Value
V_ang(Deg) | 1 | 7.0842e-33
V_ang(Deg) | 2 | 0.014481
V_ang(Deg) | 3 | 0.096041
V_ang(Deg) | 4 | 0.16165
V_ang(Deg) | 5 | 0.22828
V_ang(Deg) | 6 | 0.13385
V_ang(Deg) | 7 | -0.096474
V_ang(Deg) | 8 | -0.060404
V_ang(Deg) | 9 | -0.13349
V_ang(Deg) | 10 | -0.19601
V_ang(Deg) | 11 | -0.18876
V_ang(Deg) | 12 | -0.17727
V_ang(Deg) | 13 | -0.26859
V_ang(Deg) | 14 | -0.34727
V_ang(Deg) | 15 | -0.38495
V_ang(Deg) | 16 | -0.40821
V_ang(Deg) | 17 | -0.48547
V_ang(Deg) | 18 | -0.49506
V_ang(Deg) | 19 | 0.0036509
V_ang(Deg) | 20 | -0.063328
V_ang(Deg) | 21 | -0.082686
V_ang(Deg) | 22 | -0.10303
V_ang(Deg) | 23 | 0.06508
V_ang(Deg) | 24 | -0.023654
V_ang(Deg) | 25 | -0.067355
V_ang(Deg) | 26 | 0.17331
V_ang(Deg) | 27 | 0.22946
V_ang(Deg) | 28 | 0.31241
V_ang(Deg) | 29 | 0.39031
V_ang(Deg) | 30 | 0.49558
V_ang(Deg) | 31 | 0.41118
V_ang(Deg) | 32 | 0.38813
V_ang(Deg) | 33 | 0.3804

## PGen
Variable_name | Index: Buses | Value
PGen | 1 | 0.39177
PGen | 2 | 6.0045e-09
PGen | 3 | 9.1423e-09
PGen | 4 | 9.3973e-09
PGen | 5 | 9.536e-09
PGen | 6 | 9.6907e-09
PGen | 7 | 9.7041e-09
PGen | 8 | 9.7354e-09
PGen | 9 | 9.7645e-09
PGen | 10 | 9.7865e-09
PGen | 11 | 9.7898e-09
PGen | 12 | 9.7953e-09
PGen | 13 | 9.8131e-09
PGen | 14 | 9.8183e-09
PGen | 15 | 9.822e-09
PGen | 16 | 9.8255e-09
PGen | 17 | 9.8298e-09
PGen | 18 | 9.8312e-09
PGen | 19 | 6.4534e-09
PGen | 20 | 7.9368e-09
PGen | 21 | 8.085e-09
PGen | 22 | 8.1976e-09
PGen | 23 | 9.2837e-09
PGen | 24 | 9.4494e-09
PGen | 25 | 9.5071e-09
PGen | 26 | 9.702e-09
PGen | 27 | 9.7157e-09
PGen | 28 | 9.7559e-09
PGen | 29 | 9.7784e-09
PGen | 30 | 9.7885e-09
PGen | 31 | 9.8009e-09
PGen | 32 | 9.8033e-09
PGen | 33 | 9.8039e-09

## QGen
Variable_name | Index: Buses | Value
QGen | 1 | 0.24351
QGen | 2 | 4.6255e-09
QGen | 3 | 9.0249e-09
QGen | 4 | 9.0937e-09
QGen | 5 | 9.3121e-09
QGen | 6 | 9.5534e-09
QGen | 7 | 9.5682e-09
QGen | 8 | 9.6006e-09
QGen | 9 | 9.6326e-09
QGen | 10 | 9.6588e-09
QGen | 11 | 9.6629e-09
QGen | 12 | 9.6697e-09
QGen | 13 | 9.6915e-09
QGen | 14 | 9.6979e-09
QGen | 15 | 9.7014e-09
QGen | 16 | 9.7052e-09
QGen | 17 | 9.7101e-09
QGen | 18 | 9.7119e-09
QGen | 19 | 4.9468e-09
QGen | 20 | 6.4854e-09
QGen | 21 | 6.6749e-09
QGen | 22 | 6.834e-09
QGen | 23 | 8.8497e-09
QGen | 24 | 9.0655e-09
QGen | 25 | 9.1463e-09
QGen | 26 | 9.5767e-09
QGen | 27 | 9.605e-09
QGen | 28 | 9.6851e-09
QGen | 29 | 9.7272e-09
QGen | 30 | 9.7466e-09
QGen | 31 | 9.7558e-09
QGen | 32 | 9.7577e-09
QGen | 33 | 9.7583e-09

## V_mag_kv
Variable_name | Index: Buses | Value
V_mag_kv | 1 | 12.66
V_mag_kv | 2 | 12.6224
V_mag_kv | 3 | 12.444
V_mag_kv | 4 | 12.3493
V_mag_kv | 5 | 12.2556
V_mag_kv | 6 | 12.0227
V_mag_kv | 7 | 11.9785
V_mag_kv | 8 | 11.9172
V_mag_kv | 9 | 11.8379
V_mag_kv | 10 | 11.7642
V_mag_kv | 11 | 11.7533
V_mag_kv | 12 | 11.7344
V_mag_kv | 13 | 11.657
V_mag_kv | 14 | 11.6283
V_mag_kv | 15 | 11.6104
V_mag_kv | 16 | 11.5931
V_mag_kv | 17 | 11.5674
V_mag_kv | 18 | 11.5597
V_mag_kv | 19 | 12.6157
V_mag_kv | 20 | 12.5704
V_mag_kv | 21 | 12.5615
V_mag_kv | 22 | 12.5535
V_mag_kv | 23 | 12.3986
V_mag_kv | 24 | 12.3141
V_mag_kv | 25 | 12.272
V_mag_kv | 26 | 11.9982
V_mag_kv | 27 | 11.9658
V_mag_kv | 28 | 11.821
V_mag_kv | 29 | 11.7169
V_mag_kv | 30 | 11.6719
V_mag_kv | 31 | 11.6192
V_mag_kv | 32 | 11.6076
V_mag_kv | 33 | 11.604

## V_ang_deg
Variable_name | Index: Buses | Value
V_ang_deg | 1 | 7.0842e-33
V_ang_deg | 2 | 0.014481
V_ang_deg | 3 | 0.096041
V_ang_deg | 4 | 0.16165
V_ang_deg | 5 | 0.22828
V_ang_deg | 6 | 0.13385
V_ang_deg | 7 | -0.096474
V_ang_deg | 8 | -0.060404
V_ang_deg | 9 | -0.13349
V_ang_deg | 10 | -0.19601
V_ang_deg | 11 | -0.18876
V_ang_deg | 12 | -0.17727
V_ang_deg | 13 | -0.26859
V_ang_deg | 14 | -0.34727
V_ang_deg | 15 | -0.38495
V_ang_deg | 16 | -0.40821
V_ang_deg | 17 | -0.48547
V_ang_deg | 18 | -0.49506
V_ang_deg | 19 | 0.0036509
V_ang_deg | 20 | -0.063328
V_ang_deg | 21 | -0.082686
V_ang_deg | 22 | -0.10303
V_ang_deg | 23 | 0.06508
V_ang_deg | 24 | -0.023654
V_ang_deg | 25 | -0.067355
V_ang_deg | 26 | 0.17331
V_ang_deg | 27 | 0.22946
V_ang_deg | 28 | 0.31241
V_ang_deg | 29 | 0.39031
V_ang_deg | 30 | 0.49558
V_ang_deg | 31 | 0.41118
V_ang_deg | 32 | 0.38813
V_ang_deg | 33 | 0.3804

## PDem
Variable_name | Index: Buses | Value
PDem | 1 | 0
PDem | 2 | 0.01
PDem | 3 | 0.009
PDem | 4 | 0.012
PDem | 5 | 0.006
PDem | 6 | 0.006
PDem | 7 | 0.02
PDem | 8 | 0.02
PDem | 9 | 0.006
PDem | 10 | 0.006
PDem | 11 | 0.0045
PDem | 12 | 0.006
PDem | 13 | 0.006
PDem | 14 | 0.012
PDem | 15 | 0.006
PDem | 16 | 0.006
PDem | 17 | 0.006
PDem | 18 | 0.009
PDem | 19 | 0.009
PDem | 20 | 0.009
PDem | 21 | 0.009
PDem | 22 | 0.009
PDem | 23 | 0.009
PDem | 24 | 0.042
PDem | 25 | 0.042
PDem | 26 | 0.006
PDem | 27 | 0.006
PDem | 28 | 0.006
PDem | 29 | 0.012
PDem | 30 | 0.02
PDem | 31 | 0.015
PDem | 32 | 0.021
PDem | 33 | 0.006

## QDem
Variable_name | Index: Buses | Value
QDem | 1 | 0
QDem | 2 | 0.006
QDem | 3 | 0.004
QDem | 4 | 0.008
QDem | 5 | 0.003
QDem | 6 | 0.002
QDem | 7 | 0.01
QDem | 8 | 0.01
QDem | 9 | 0.002
QDem | 10 | 0.002
QDem | 11 | 0.003
QDem | 12 | 0.0035
QDem | 13 | 0.0035
QDem | 14 | 0.008
QDem | 15 | 0.001
QDem | 16 | 0.002
QDem | 17 | 0.002
QDem | 18 | 0.004
QDem | 19 | 0.004
QDem | 20 | 0.004
QDem | 21 | 0.004
QDem | 22 | 0.004
QDem | 23 | 0.005
QDem | 24 | 0.02
QDem | 25 | 0.02
QDem | 26 | 0.0025
QDem | 27 | 0.0025
QDem | 28 | 0.002
QDem | 29 | 0.007
QDem | 30 | 0.06
QDem | 31 | 0.007
QDem | 32 | 0.01
QDem | 33 | 0.004

## P_gen_MW
Variable_name | Index: Buses | Value
P_gen_MW | 1 | 3.9177
P_gen_MW | 2 | 6.0045e-08
P_gen_MW | 3 | 9.1423e-08
P_gen_MW | 4 | 9.3973e-08
P_gen_MW | 5 | 9.536e-08
P_gen_MW | 6 | 9.6907e-08
P_gen_MW | 7 | 9.7041e-08
P_gen_MW | 8 | 9.7354e-08
P_gen_MW | 9 | 9.7645e-08
P_gen_MW | 10 | 9.7865e-08
P_gen_MW | 11 | 9.7898e-08
P_gen_MW | 12 | 9.7953e-08
P_gen_MW | 13 | 9.8131e-08
P_gen_MW | 14 | 9.8183e-08
P_gen_MW | 15 | 9.822e-08
P_gen_MW | 16 | 9.8255e-08
P_gen_MW | 17 | 9.8298e-08
P_gen_MW | 18 | 9.8312e-08
P_gen_MW | 19 | 6.4534e-08
P_gen_MW | 20 | 7.9368e-08
P_gen_MW | 21 | 8.085e-08
P_gen_MW | 22 | 8.1976e-08
P_gen_MW | 23 | 9.2837e-08
P_gen_MW | 24 | 9.4494e-08
P_gen_MW | 25 | 9.5071e-08
P_gen_MW | 26 | 9.702e-08
P_gen_MW | 27 | 9.7157e-08
P_gen_MW | 28 | 9.7559e-08
P_gen_MW | 29 | 9.7784e-08
P_gen_MW | 30 | 9.7885e-08
P_gen_MW | 31 | 9.8009e-08
P_gen_MW | 32 | 9.8033e-08
P_gen_MW | 33 | 9.8039e-08

## Q_gen_MVar
Variable_name | Index: Buses | Value
Q_gen_MVar | 1 | 2.4351
Q_gen_MVar | 2 | 4.6255e-08
Q_gen_MVar | 3 | 9.0249e-08
Q_gen_MVar | 4 | 9.0937e-08
Q_gen_MVar | 5 | 9.3121e-08
Q_gen_MVar | 6 | 9.5534e-08
Q_gen_MVar | 7 | 9.5682e-08
Q_gen_MVar | 8 | 9.6006e-08
Q_gen_MVar | 9 | 9.6326e-08
Q_gen_MVar | 10 | 9.6588e-08
Q_gen_MVar | 11 | 9.6629e-08
Q_gen_MVar | 12 | 9.6697e-08
Q_gen_MVar | 13 | 9.6915e-08
Q_gen_MVar | 14 | 9.6979e-08
Q_gen_MVar | 15 | 9.7014e-08
Q_gen_MVar | 16 | 9.7052e-08
Q_gen_MVar | 17 | 9.7101e-08
Q_gen_MVar | 18 | 9.7119e-08
Q_gen_MVar | 19 | 4.9468e-08
Q_gen_MVar | 20 | 6.4854e-08
Q_gen_MVar | 21 | 6.6749e-08
Q_gen_MVar | 22 | 6.834e-08
Q_gen_MVar | 23 | 8.8497e-08
Q_gen_MVar | 24 | 9.0655e-08
Q_gen_MVar | 25 | 9.1463e-08
Q_gen_MVar | 26 | 9.5767e-08
Q_gen_MVar | 27 | 9.605e-08
Q_gen_MVar | 28 | 9.6851e-08
Q_gen_MVar | 29 | 9.7272e-08
Q_gen_MVar | 30 | 9.7466e-08
Q_gen_MVar | 31 | 9.7558e-08
Q_gen_MVar | 32 | 9.7577e-08
Q_gen_MVar | 33 | 9.7583e-08

## P_line_flow_sending
Variable_name | Index: Lines | Value
P_line_flow_sending | 1 | 3.9177
P_line_flow_sending | 2 | 3.4443
P_line_flow_sending | 3 | 2.3629
P_line_flow_sending | 4 | 2.223
P_line_flow_sending | 5 | 2.1443
P_line_flow_sending | 6 | 1.0953
P_line_flow_sending | 7 | 0.89335
P_line_flow_sending | 8 | 0.68851
P_line_flow_sending | 9 | 0.62433
P_line_flow_sending | 10 | 0.56077
P_line_flow_sending | 11 | 0.51522
P_line_flow_sending | 12 | 0.45434
P_line_flow_sending | 13 | 0.39167
P_line_flow_sending | 14 | 0.27094
P_line_flow_sending | 15 | 0.21059
P_line_flow_sending | 16 | 0.1503
P_line_flow_sending | 17 | 0.090053
P_line_flow_sending | 18 | 0.36114
P_line_flow_sending | 19 | 0.27098
P_line_flow_sending | 20 | 0.18014
P_line_flow_sending | 21 | 0.090044
P_line_flow_sending | 22 | 0.93961
P_line_flow_sending | 23 | 0.84643
P_line_flow_sending | 24 | 0.42129
P_line_flow_sending | 25 | 0.95078
P_line_flow_sending | 26 | 0.88818
P_line_flow_sending | 27 | 0.82485
P_line_flow_sending | 28 | 0.75355
P_line_flow_sending | 29 | 0.62572
P_line_flow_sending | 30 | 0.42182
P_line_flow_sending | 31 | 0.27023
P_line_flow_sending | 32 | 0.060013
P_line_flow_sending | 33 | 0
P_line_flow_sending | 34 | 0
P_line_flow_sending | 35 | 0
P_line_flow_sending | 36 | 0
P_line_flow_sending | 37 | 0

## Q_line_flow_sending
Variable_name | Index: Lines | Value
Q_line_flow_sending | 1 | 2.4351
Q_line_flow_sending | 2 | 2.2078
Q_line_flow_sending | 3 | 1.6842
Q_line_flow_sending | 4 | 1.5941
Q_line_flow_sending | 5 | 1.5545
Q_line_flow_sending | 6 | 0.52789
Q_line_flow_sending | 7 | 0.42156
Q_line_flow_sending | 8 | 0.31996
Q_line_flow_sending | 9 | 0.29696
Q_line_flow_sending | 10 | 0.27443
Q_line_flow_sending | 11 | 0.24425
Q_line_flow_sending | 12 | 0.20896
Q_line_flow_sending | 13 | 0.17186
Q_line_flow_sending | 14 | 0.090901
Q_line_flow_sending | 15 | 0.080583
Q_line_flow_sending | 16 | 0.060377
Q_line_flow_sending | 17 | 0.040042
Q_line_flow_sending | 18 | 0.16108
Q_line_flow_sending | 19 | 0.12093
Q_line_flow_sending | 20 | 0.080175
Q_line_flow_sending | 21 | 0.040058
Q_line_flow_sending | 22 | 0.45724
Q_line_flow_sending | 23 | 0.40507
Q_line_flow_sending | 24 | 0.20101
Q_line_flow_sending | 25 | 0.97364
Q_line_flow_sending | 26 | 0.94731
Q_line_flow_sending | 27 | 0.92062
Q_line_flow_sending | 28 | 0.89065
Q_line_flow_sending | 29 | 0.81383
Q_line_flow_sending | 30 | 0.21184
Q_line_flow_sending | 31 | 0.14027
Q_line_flow_sending | 32 | 0.04002
Q_line_flow_sending | 33 | 0
Q_line_flow_sending | 34 | 0
Q_line_flow_sending | 35 | 0
Q_line_flow_sending | 36 | 0
Q_line_flow_sending | 37 | 0

## P_line_flow_receiving
Variable_name | Index: Lines | Value
P_line_flow_receiving | 1 | -3.9054
P_line_flow_receiving | 2 | -3.3925
P_line_flow_receiving | 3 | -2.343
P_line_flow_receiving | 4 | -2.2043
P_line_flow_receiving | 5 | -2.106
P_line_flow_receiving | 6 | -1.0934
P_line_flow_receiving | 7 | -0.88851
P_line_flow_receiving | 8 | -0.68433
P_line_flow_receiving | 9 | -0.62077
P_line_flow_receiving | 10 | -0.56022
P_line_flow_receiving | 11 | -0.51434
P_line_flow_receiving | 12 | -0.45167
P_line_flow_receiving | 13 | -0.39094
P_line_flow_receiving | 14 | -0.27059
P_line_flow_receiving | 15 | -0.2103
P_line_flow_receiving | 16 | -0.15005
P_line_flow_receiving | 17 | -0.09
P_line_flow_receiving | 18 | -0.36098
P_line_flow_receiving | 19 | -0.27014
P_line_flow_receiving | 20 | -0.18004
P_line_flow_receiving | 21 | -0.09
P_line_flow_receiving | 22 | -0.93643
P_line_flow_receiving | 23 | -0.84129
P_line_flow_receiving | 24 | -0.42
P_line_flow_receiving | 25 | -0.94818
P_line_flow_receiving | 26 | -0.88485
P_line_flow_receiving | 27 | -0.81355
P_line_flow_receiving | 28 | -0.74572
P_line_flow_receiving | 29 | -0.62182
P_line_flow_receiving | 30 | -0.42023
P_line_flow_receiving | 31 | -0.27001
P_line_flow_receiving | 32 | -0.06
P_line_flow_receiving | 33 | 0
P_line_flow_receiving | 34 | 0
P_line_flow_receiving | 35 | 0
P_line_flow_receiving | 36 | 0
P_line_flow_receiving | 37 | 0

## Q_line_flow_receiving
Variable_name | Index: Lines | Value
Q_line_flow_receiving | 1 | -2.4289
Q_line_flow_receiving | 2 | -2.1814
Q_line_flow_receiving | 3 | -1.6741
Q_line_flow_receiving | 4 | -1.5845
Q_line_flow_receiving | 5 | -1.5215
Q_line_flow_receiving | 6 | -0.52156
Q_line_flow_receiving | 7 | -0.41996
Q_line_flow_receiving | 8 | -0.31696
Q_line_flow_receiving | 9 | -0.29443
Q_line_flow_receiving | 10 | -0.27425
Q_line_flow_receiving | 11 | -0.24396
Q_line_flow_receiving | 12 | -0.20686
Q_line_flow_receiving | 13 | -0.1709
Q_line_flow_receiving | 14 | -0.090583
Q_line_flow_receiving | 15 | -0.080377
Q_line_flow_receiving | 16 | -0.060041
Q_line_flow_receiving | 17 | -0.04
Q_line_flow_receiving | 18 | -0.16093
Q_line_flow_receiving | 19 | -0.12018
Q_line_flow_receiving | 20 | -0.080058
Q_line_flow_receiving | 21 | -0.04
Q_line_flow_receiving | 22 | -0.45507
Q_line_flow_receiving | 23 | -0.40101
Q_line_flow_receiving | 24 | -0.2
Q_line_flow_receiving | 25 | -0.97231
Q_line_flow_receiving | 26 | -0.94562
Q_line_flow_receiving | 27 | -0.91065
Q_line_flow_receiving | 28 | -0.88383
Q_line_flow_receiving | 29 | -0.81184
Q_line_flow_receiving | 30 | -0.21027
Q_line_flow_receiving | 31 | -0.14002
Q_line_flow_receiving | 32 | -0.04
Q_line_flow_receiving | 33 | 0
Q_line_flow_receiving | 34 | 0
Q_line_flow_receiving | 35 | 0
Q_line_flow_receiving | 36 | 0
Q_line_flow_receiving | 37 | 0

## P_line_loss
Variable_name | Index: Lines | Value
P_line_loss | 1 | 0.1224
P_line_loss | 2 | 0.51791
P_line_loss | 3 | 0.199
P_line_loss | 4 | 0.18699
P_line_loss | 5 | 0.38249
P_line_loss | 6 | 0.019145
P_line_loss | 7 | 0.048379
P_line_loss | 8 | 0.041805
P_line_loss | 9 | 0.035609
P_line_loss | 10 | 0.005537
P_line_loss | 11 | 0.0088113
P_line_loss | 12 | 0.026662
P_line_loss | 13 | 0.0072916
P_line_loss | 14 | 0.0035697
P_line_loss | 15 | 0.0028147
P_line_loss | 16 | 0.0025163
P_line_loss | 17 | 0.00053136
P_line_loss | 18 | 0.0016095
P_line_loss | 19 | 0.0083217
P_line_loss | 20 | 0.0010076
P_line_loss | 21 | 0.00043634
P_line_loss | 22 | 0.031816
P_line_loss | 23 | 0.051437
P_line_loss | 24 | 0.012875
P_line_loss | 25 | 0.026009
P_line_loss | 26 | 0.03329
P_line_loss | 27 | 0.11301
P_line_loss | 28 | 0.078333
P_line_loss | 29 | 0.038957
P_line_loss | 30 | 0.015936
P_line_loss | 31 | 0.0021319
P_line_loss | 32 | 0.00013169
P_line_loss | 33 | 0
P_line_loss | 34 | 0
P_line_loss | 35 | 0
P_line_loss | 36 | 0
P_line_loss | 37 | 0

## Q_line_loss
Variable_name | Index: Lines | Value
Q_line_loss | 1 | 0.062397
Q_line_loss | 2 | 0.26379
Q_line_loss | 3 | 0.10135
Q_line_loss | 4 | 0.095236
Q_line_loss | 5 | 0.33018
Q_line_loss | 6 | 0.063285
Q_line_loss | 7 | 0.015988
Q_line_loss | 8 | 0.030035
Q_line_loss | 9 | 0.02524
Q_line_loss | 10 | 0.0018306
Q_line_loss | 11 | 0.0029136
Q_line_loss | 12 | 0.020977
Q_line_loss | 13 | 0.0095978
Q_line_loss | 14 | 0.0031771
Q_line_loss | 15 | 0.0020555
Q_line_loss | 16 | 0.0033597
Q_line_loss | 17 | 0.00041667
Q_line_loss | 18 | 0.0015359
Q_line_loss | 19 | 0.0074985
Q_line_loss | 20 | 0.0011771
Q_line_loss | 21 | 0.00057693
Q_line_loss | 22 | 0.02174
Q_line_loss | 23 | 0.040617
Q_line_loss | 24 | 0.010074
Q_line_loss | 25 | 0.013248
Q_line_loss | 26 | 0.016949
Q_line_loss | 27 | 0.099637
Q_line_loss | 28 | 0.068242
Q_line_loss | 29 | 0.019843
Q_line_loss | 30 | 0.01575
Q_line_loss | 31 | 0.0024849
Q_line_loss | 32 | 0.00020475
Q_line_loss | 33 | 0
Q_line_loss | 34 | 0
Q_line_loss | 35 | 0
Q_line_loss | 36 | 0
Q_line_loss | 37 | 0

## I_line_re
Variable_name | Index: Lines | Value
I_line_re | 1 | 0.39177
I_line_re | 2 | 0.34551
I_line_re | 3 | 0.24068
I_line_re | 4 | 0.22835
I_line_re | 5 | 0.22214
I_line_re | 6 | 0.11546
I_line_re | 7 | 0.094342
I_line_re | 8 | 0.073107
I_line_re | 9 | 0.066695
I_line_re | 10 | 0.060246
I_line_re | 11 | 0.055409
I_line_re | 12 | 0.048948
I_line_re | 13 | 0.042449
I_line_re | 14 | 0.029438
I_line_re | 15 | 0.022903
I_line_re | 16 | 0.016366
I_line_re | 17 | 0.0098184
I_line_re | 18 | 0.036225
I_line_re | 19 | 0.027193
I_line_re | 20 | 0.018134
I_line_re | 21 | 0.0090691
I_line_re | 22 | 0.09567
I_line_re | 23 | 0.086475
I_line_re | 24 | 0.043303
I_line_re | 25 | 0.10036
I_line_re | 26 | 0.094018
I_line_re | 27 | 0.08766
I_line_re | 28 | 0.081222
I_line_re | 29 | 0.068205
I_line_re | 30 | 0.04595
I_line_re | 31 | 0.029552
I_line_re | 32 | 0.0065748
I_line_re | 33 | 0
I_line_re | 34 | 0
I_line_re | 35 | 0
I_line_re | 36 | 0
I_line_re | 37 | 0

## I_line_im
Variable_name | Index: Lines | Value
I_line_im | 1 | -0.24351
I_line_im | 2 | -0.22135
I_line_im | 3 | -0.17094
I_line_im | 4 | -0.16277
I_line_im | 5 | -0.1597
I_line_im | 6 | -0.055317
I_line_im | 7 | -0.044713
I_line_im | 8 | -0.034067
I_line_im | 9 | -0.031913
I_line_im | 10 | -0.029739
I_line_im | 11 | -0.026492
I_line_im | 12 | -0.022696
I_line_im | 13 | -0.018864
I_line_im | 14 | -0.010075
I_line_im | 15 | -0.0089409
I_line_im | 16 | -0.0067102
I_line_im | 17 | -0.0044657
I_line_im | 18 | -0.016147
I_line_im | 19 | -0.012133
I_line_im | 20 | -0.0080947
I_line_im | 21 | -0.0040503
I_line_im | 22 | -0.046358
I_line_im | 23 | -0.041263
I_line_im | 24 | -0.020683
I_line_im | 25 | -0.10229
I_line_im | 26 | -0.099672
I_line_im | 27 | -0.097052
I_line_im | 28 | -0.094945
I_line_im | 29 | -0.087471
I_line_im | 30 | -0.022581
I_line_im | 31 | -0.015072
I_line_im | 32 | -0.0043204
I_line_im | 33 | 0
I_line_im | 34 | 0
I_line_im | 35 | 0
I_line_im | 36 | 0
I_line_im | 37 | 0

## I_line_sq
Variable_name | Index: Lines | Value
I_line_sq | 1 | 0.21278
I_line_sq | 2 | 0.16837
I_line_sq | 3 | 0.087146
I_line_sq | 4 | 0.07864
I_line_sq | 5 | 0.074851
I_line_sq | 6 | 0.016392
I_line_sq | 7 | 0.0109
I_line_sq | 8 | 0.0065052
I_line_sq | 9 | 0.0054667
I_line_sq | 10 | 0.004514
I_line_sq | 11 | 0.003772
I_line_sq | 12 | 0.002911
I_line_sq | 13 | 0.0021578
I_line_sq | 14 | 0.00096809
I_line_sq | 15 | 0.00060448
I_line_sq | 16 | 0.00031288
I_line_sq | 17 | 0.00011634
I_line_sq | 18 | 0.001573
I_line_sq | 19 | 0.0008867
I_line_sq | 20 | 0.00039436
I_line_sq | 21 | 9.8653e-05
I_line_sq | 22 | 0.011302
I_line_sq | 23 | 0.0091805
I_line_sq | 24 | 0.002303
I_line_sq | 25 | 0.020535
I_line_sq | 26 | 0.018774
I_line_sq | 27 | 0.017103
I_line_sq | 28 | 0.015612
I_line_sq | 29 | 0.012303
I_line_sq | 30 | 0.0026213
I_line_sq | 31 | 0.0011005
I_line_sq | 32 | 6.1894e-05
I_line_sq | 33 | 0
I_line_sq | 34 | 0
I_line_sq | 35 | 0
I_line_sq | 36 | 0
I_line_sq | 37 | 0

## I_line_mag
Variable_name | Index: Lines | Value
I_line_mag | 1 | 0.21036
I_line_mag | 2 | 0.18713
I_line_mag | 3 | 0.13463
I_line_mag | 4 | 0.12789
I_line_mag | 5 | 0.12477
I_line_mag | 6 | 0.058387
I_line_mag | 7 | 0.047612
I_line_mag | 8 | 0.036782
I_line_mag | 9 | 0.033719
I_line_mag | 10 | 0.03064
I_line_mag | 11 | 0.028009
I_line_mag | 12 | 0.024605
I_line_mag | 13 | 0.021184
I_line_mag | 14 | 0.014189
I_line_mag | 15 | 0.011212
I_line_mag | 16 | 0.0080667
I_line_mag | 17 | 0.004919
I_line_mag | 18 | 0.018087
I_line_mag | 19 | 0.01358
I_line_mag | 20 | 0.0090563
I_line_mag | 21 | 0.0045296
I_line_mag | 22 | 0.048482
I_line_mag | 23 | 0.043696
I_line_mag | 24 | 0.021885
I_line_mag | 25 | 0.065351
I_line_mag | 26 | 0.062486
I_line_mag | 27 | 0.059641
I_line_mag | 28 | 0.056981
I_line_mag | 29 | 0.050584
I_line_mag | 30 | 0.023349
I_line_mag | 31 | 0.015129
I_line_mag | 32 | 0.0035878
I_line_mag | 33 | 0
I_line_mag | 34 | 0
I_line_mag | 35 | 0
I_line_mag | 36 | 0
I_line_mag | 37 | 0