## Variable_list
Name | Variable | Expression
V_mag | 1 | 0
V_ang | 1 | 0
V_ang(Deg) | 1 | 0
PGen | 1 | 0
QGen | 1 | 0
PDem | 0 | 1
QDem | 0 | 1
P_line_flow_sending | 0 | 1
Q_line_flow_sending | 0 | 1
P_line_flow_receiving | 0 | 1
Q_line_flow_receiving | 0 | 1
P_line_loss | 0 | 1
Q_line_loss | 0 | 1
S_line_flow_sending | 0 | 1
S_line_flow_receiving | 0 | 1
P_gen_MW | 0 | 1
Q_gen_MVar | 0 | 1
V_mag_kv | 0 | 1
V_ang_deg | 0 | 1
I_line_re | 0 | 1
I_line_im | 0 | 1
I_line_sq | 0 | 1
P_cost | 0 | 1

## V_mag
Variable_name | Index: Buses | Value
V_mag | 1 | 1.1
V_mag | 2 | 1.0974
V_mag | 3 | 1.0866
V_mag | 4 | 1.0942
V_mag | 5 | 1.0844
V_mag | 6 | 1.1
V_mag | 7 | 1.0895
V_mag | 8 | 1.1
V_mag | 9 | 1.0718

## V_ang
Variable_name | Index: Buses | Value
V_ang | 1 | 3.2093e-35
V_ang | 2 | 0.08541
V_ang | 3 | 0.056715
V_ang | 4 | -0.042986
V_ang | 5 | -0.069499
V_ang | 6 | 0.010522
V_ang | 7 | -0.020879
V_ang | 8 | 0.015806
V_ang | 9 | -0.080551

## V_ang(Deg)
Variable_name | Index: Buses | Value
V_ang(Deg) | 1 | 1.8388e-33
V_ang(Deg) | 2 | 4.8936
V_ang(Deg) | 3 | 3.2495
V_ang(Deg) | 4 | -2.4629
V_ang(Deg) | 5 | -3.982
V_ang(Deg) | 6 | 0.60289
V_ang(Deg) | 7 | -1.1963
V_ang(Deg) | 8 | 0.90563
V_ang(Deg) | 9 | -4.6152

## PGen
Variable_name | Index: Gens | Index: Buses | Value
PGen | 1 | 1 | 0.89799
PGen | 1 | 2 | 9.97e-09
PGen | 1 | 3 | 9.9701e-09
PGen | 1 | 4 | 9.9708e-09
PGen | 1 | 5 | 9.9711e-09
PGen | 1 | 6 | 9.97e-09
PGen | 1 | 7 | 9.9702e-09
PGen | 1 | 8 | 9.9699e-09
PGen | 1 | 9 | 9.9711e-09
PGen | 2 | 1 | 9.9708e-09
PGen | 2 | 2 | 1.3432
PGen | 2 | 3 | 9.9701e-09
PGen | 2 | 4 | 9.9708e-09
PGen | 2 | 5 | 9.9711e-09
PGen | 2 | 6 | 9.97e-09
PGen | 2 | 7 | 9.9702e-09
PGen | 2 | 8 | 9.9699e-09
PGen | 2 | 9 | 9.9711e-09
PGen | 3 | 1 | 9.9708e-09
PGen | 3 | 2 | 9.97e-09
PGen | 3 | 3 | 0.94187
PGen | 3 | 4 | 9.9708e-09
PGen | 3 | 5 | 9.9711e-09
PGen | 3 | 6 | 9.97e-09
PGen | 3 | 7 | 9.9702e-09
PGen | 3 | 8 | 9.9699e-09
PGen | 3 | 9 | 9.9711e-09

## QGen
Variable_name | Index: Gens | Index: Buses | Value
QGen | 1 | 1 | 0.12966
QGen | 1 | 2 | -5.412e-19
QGen | 1 | 3 | 5.7909e-18
QGen | 1 | 4 | 2.9845e-10
QGen | 1 | 5 | 1.8318e-09
QGen | 1 | 6 | 1.7363e-16
QGen | 1 | 7 | 2.4408e-09
QGen | 1 | 8 | 1.0524e-15
QGen | 1 | 9 | 7.2446e-09
QGen | 2 | 1 | 1.4432e-18
QGen | 2 | 2 | 0.00031842
QGen | 2 | 3 | -1.9034e-15
QGen | 2 | 4 | 2.9845e-10
QGen | 2 | 5 | 1.8318e-09
QGen | 2 | 6 | 1.7363e-16
QGen | 2 | 7 | 2.4408e-09
QGen | 2 | 8 | 1.0524e-15
QGen | 2 | 9 | 7.2446e-09
QGen | 3 | 1 | 1.4432e-18
QGen | 3 | 2 | 3.68e-21
QGen | 3 | 3 | -0.22634
QGen | 3 | 4 | 2.9845e-10
QGen | 3 | 5 | 1.8318e-09
QGen | 3 | 6 | 1.7363e-16
QGen | 3 | 7 | 2.4408e-09
QGen | 3 | 8 | 1.0524e-15
QGen | 3 | 9 | 7.2446e-09

## PDem
Variable_name | Index: Buses | Value
PDem | 1 | 0
PDem | 2 | 0
PDem | 3 | 0
PDem | 4 | 0
PDem | 5 | 0.9
PDem | 6 | 0
PDem | 7 | 1
PDem | 8 | 0
PDem | 9 | 1.25

## QDem
Variable_name | Index: Buses | Value
QDem | 1 | 0
QDem | 2 | 0
QDem | 3 | 0
QDem | 4 | 0
QDem | 5 | 0.3
QDem | 6 | 0
QDem | 7 | 0.35
QDem | 8 | 0
QDem | 9 | 0.5

## P_line_flow_sending
Variable_name | Index: Lines | Value
P_line_flow_sending | 1 | 0.89799
P_line_flow_sending | 2 | 0.35221
P_line_flow_sending | 3 | -0.54959
P_line_flow_sending | 4 | 0.94187
P_line_flow_sending | 5 | 0.38218
P_line_flow_sending | 6 | -0.61931
P_line_flow_sending | 7 | -1.3432
P_line_flow_sending | 8 | 0.72111
P_line_flow_sending | 9 | -0.54283

## Q_line_flow_sending
Variable_name | Index: Lines | Value
Q_line_flow_sending | 1 | 0.12966
Q_line_flow_sending | 2 | 0.055688
Q_line_flow_sending | 3 | 0.049333
Q_line_flow_sending | 4 | -0.22634
Q_line_flow_sending | 5 | 0.07544
Q_line_flow_sending | 6 | -0.074731
Q_line_flow_sending | 7 | 0.093324
Q_line_flow_sending | 8 | 0.083617
Q_line_flow_sending | 9 | -0.20968

## P_line_flow_receiving
Variable_name | Index: Lines | Value
P_line_flow_receiving | 1 | -0.89799
P_line_flow_receiving | 2 | -0.35041
P_line_flow_receiving | 3 | 0.55969
P_line_flow_receiving | 4 | -0.94187
P_line_flow_receiving | 5 | -0.38069
P_line_flow_receiving | 6 | 0.6221
P_line_flow_receiving | 7 | 1.3432
P_line_flow_receiving | 8 | -0.70717
P_line_flow_receiving | 9 | 0.54577

## Q_line_flow_receiving
Variable_name | Index: Lines | Value
Q_line_flow_receiving | 1 | -0.09047
Q_line_flow_receiving | 2 | -0.045917
Q_line_flow_receiving | 3 | -0.0053179
Q_line_flow_receiving | 4 | 0.27291
Q_line_flow_receiving | 5 | -0.062798
Q_line_flow_receiving | 6 | 0.098335
Q_line_flow_receiving | 7 | 0.00031842
Q_line_flow_receiving | 8 | -0.013496
Q_line_flow_receiving | 9 | 0.23473

## P_line_loss
Variable_name | Index: Lines | Value
P_line_loss | 1 | 0
P_line_loss | 2 | 0.18054
P_line_loss | 3 | 1.0098
P_line_loss | 4 | 0
P_line_loss | 5 | 0.14925
P_line_loss | 6 | 0.27865
P_line_loss | 7 | 0
P_line_loss | 8 | 1.3937
P_line_loss | 9 | 0.2948

## Q_line_loss
Variable_name | Index: Lines | Value
Q_line_loss | 1 | 3.9187
Q_line_loss | 2 | 0.97703
Q_line_loss | 3 | 4.4015
Q_line_loss | 4 | 4.657
Q_line_loss | 5 | 1.2642
Q_line_loss | 6 | 2.3604
Q_line_loss | 7 | 9.3642
Q_line_loss | 8 | 7.012
Q_line_loss | 9 | 2.5058

## S_line_flow_sending
Variable_name | Index: Lines | Value
S_line_flow_sending | 1 | 0.82319
S_line_flow_sending | 2 | 0.12715
S_line_flow_sending | 3 | 0.30449
S_line_flow_sending | 4 | 0.93836
S_line_flow_sending | 5 | 0.15176
S_line_flow_sending | 6 | 0.38913
S_line_flow_sending | 7 | 1.8129
S_line_flow_sending | 8 | 0.52699
S_line_flow_sending | 9 | 0.33863

## S_line_flow_receiving
Variable_name | Index: Lines | Value
S_line_flow_receiving | 1 | 0.81457
S_line_flow_receiving | 2 | 0.12489
S_line_flow_receiving | 3 | 0.31328
S_line_flow_receiving | 4 | 0.96161
S_line_flow_receiving | 5 | 0.14887
S_line_flow_receiving | 6 | 0.39667
S_line_flow_receiving | 7 | 1.8042
S_line_flow_receiving | 8 | 0.50028
S_line_flow_receiving | 9 | 0.35297

## P_gen_MW
Variable_name | Index: Gens | Index: Buses | Value
P_gen_MW | 1 | 1 | 89.7987
P_gen_MW | 1 | 2 | 9.97e-07
P_gen_MW | 1 | 3 | 9.9701e-07
P_gen_MW | 1 | 4 | 9.9708e-07
P_gen_MW | 1 | 5 | 9.9711e-07
P_gen_MW | 1 | 6 | 9.97e-07
P_gen_MW | 1 | 7 | 9.9702e-07
P_gen_MW | 1 | 8 | 9.9699e-07
P_gen_MW | 1 | 9 | 9.9711e-07
P_gen_MW | 2 | 1 | 9.9708e-07
P_gen_MW | 2 | 2 | 134.3206
P_gen_MW | 2 | 3 | 9.9701e-07
P_gen_MW | 2 | 4 | 9.9708e-07
P_gen_MW | 2 | 5 | 9.9711e-07
P_gen_MW | 2 | 6 | 9.97e-07
P_gen_MW | 2 | 7 | 9.9702e-07
P_gen_MW | 2 | 8 | 9.9699e-07
P_gen_MW | 2 | 9 | 9.9711e-07
P_gen_MW | 3 | 1 | 9.9708e-07
P_gen_MW | 3 | 2 | 9.97e-07
P_gen_MW | 3 | 3 | 94.1874
P_gen_MW | 3 | 4 | 9.9708e-07
P_gen_MW | 3 | 5 | 9.9711e-07
P_gen_MW | 3 | 6 | 9.97e-07
P_gen_MW | 3 | 7 | 9.9702e-07
P_gen_MW | 3 | 8 | 9.9699e-07
P_gen_MW | 3 | 9 | 9.9711e-07

## Q_gen_MVar
Variable_name | Index: Gens | Index: Buses | Value
Q_gen_MVar | 1 | 1 | 12.9656
Q_gen_MVar | 1 | 2 | -5.412e-17
Q_gen_MVar | 1 | 3 | 5.7909e-16
Q_gen_MVar | 1 | 4 | 2.9845e-08
Q_gen_MVar | 1 | 5 | 1.8318e-07
Q_gen_MVar | 1 | 6 | 1.7363e-14
Q_gen_MVar | 1 | 7 | 2.4408e-07
Q_gen_MVar | 1 | 8 | 1.0524e-13
Q_gen_MVar | 1 | 9 | 7.2446e-07
Q_gen_MVar | 2 | 1 | 1.4432e-16
Q_gen_MVar | 2 | 2 | 0.031842
Q_gen_MVar | 2 | 3 | -1.9034e-13
Q_gen_MVar | 2 | 4 | 2.9845e-08
Q_gen_MVar | 2 | 5 | 1.8318e-07
Q_gen_MVar | 2 | 6 | 1.7363e-14
Q_gen_MVar | 2 | 7 | 2.4408e-07
Q_gen_MVar | 2 | 8 | 1.0524e-13
Q_gen_MVar | 2 | 9 | 7.2446e-07
Q_gen_MVar | 3 | 1 | 1.4432e-16
Q_gen_MVar | 3 | 2 | 3.68e-19
Q_gen_MVar | 3 | 3 | -22.6342
Q_gen_MVar | 3 | 4 | 2.9845e-08
Q_gen_MVar | 3 | 5 | 1.8318e-07
Q_gen_MVar | 3 | 6 | 1.7363e-14
Q_gen_MVar | 3 | 7 | 2.4408e-07
Q_gen_MVar | 3 | 8 | 1.0524e-13
Q_gen_MVar | 3 | 9 | 7.2446e-07

## V_mag_kv
Variable_name | Index: Buses | Value
V_mag_kv | 1 | 379.5
V_mag_kv | 2 | 378.5873
V_mag_kv | 3 | 374.884
V_mag_kv | 4 | 377.5064
V_mag_kv | 5 | 374.1347
V_mag_kv | 6 | 379.5
V_mag_kv | 7 | 375.8739
V_mag_kv | 8 | 379.5
V_mag_kv | 9 | 369.7556

## V_ang_deg
Variable_name | Index: Buses | Value
V_ang_deg | 1 | 1.8388e-33
V_ang_deg | 2 | 4.8936
V_ang_deg | 3 | 3.2495
V_ang_deg | 4 | -2.4629
V_ang_deg | 5 | -3.982
V_ang_deg | 6 | 0.60289
V_ang_deg | 7 | -1.1963
V_ang_deg | 8 | 0.90563
V_ang_deg | 9 | -4.6152

## I_line_re
Variable_name | Index: Lines | Value
I_line_re | 1 | 0.81635
I_line_re | 2 | 0.3194
I_line_re | 3 | -0.50873
I_line_re | 4 | 0.85359
I_line_re | 5 | 0.34814
I_line_re | 6 | -0.56688
I_line_re | 7 | -1.2196
I_line_re | 8 | 0.65667
I_line_re | 9 | -0.4891

## I_line_im
Variable_name | Index: Lines | Value
I_line_im | 1 | -0.11787
I_line_im | 2 | -0.064678
I_line_im | 3 | -0.010188
I_line_im | 4 | 0.2571
I_line_im | 5 | -0.064923
I_line_im | 6 | 0.080445
I_line_im | 7 | -0.10413
I_line_im | 8 | -0.065644
I_line_im | 9 | 0.23576

## I_line_sq
Variable_name | Index: Lines | Value
I_line_sq | 1 | 0.68032
I_line_sq | 2 | 0.1062
I_line_sq | 3 | 0.25891
I_line_sq | 4 | 0.79472
I_line_sq | 5 | 0.12542
I_line_sq | 6 | 0.32783
I_line_sq | 7 | 1.4983
I_line_sq | 8 | 0.43553
I_line_sq | 9 | 0.2948

## P_cost
Variable_name | Index: Gens | Index: Buses | Value
P_cost | 1 | 1 | 1486.0122
P_cost | 1 | 2 | 0
P_cost | 1 | 3 | 0
P_cost | 1 | 4 | 0
P_cost | 1 | 5 | 0
P_cost | 1 | 6 | 0
P_cost | 1 | 7 | 0
P_cost | 1 | 8 | 0
P_cost | 1 | 9 | 0
P_cost | 2 | 1 | 0
P_cost | 2 | 2 | 2294.7565
P_cost | 2 | 3 | 0
P_cost | 2 | 4 | 0
P_cost | 2 | 5 | 0
P_cost | 2 | 6 | 0
P_cost | 2 | 7 | 0
P_cost | 2 | 8 | 0
P_cost | 2 | 9 | 0
P_cost | 3 | 1 | 0
P_cost | 3 | 2 | 0
P_cost | 3 | 3 | 1515.9169
P_cost | 3 | 4 | 0
P_cost | 3 | 5 | 0
P_cost | 3 | 6 | 0
P_cost | 3 | 7 | 0
P_cost | 3 | 8 | 0
P_cost | 3 | 9 | 0